Emergency Light Inspection Checklist

InspectionReport.app — BS 5266-1:2016 Compliant

Site / Building: _______________

Inspector Name: _______________

Date of Inspection: _______________

Next Scheduled Inspection: _______________

Section 1: Monthly Functional Test (30-Second Duration)

Per BS 5266-1:2016 Section 12.3 — Each emergency light fitting shall be tested monthly by simulating a mains failure for a period sufficient to verify correct operation (minimum 30 seconds).

| Luminaire ID / Location | Visual Inspection (No damage, clean lens) | Test Button Operational | Illumination OK (LED / Bulb works) | Battery Indicator (Charging LED) | Pass / Fail | Comments / Actions |
| --- | --- | --- | --- | --- | --- | --- |

Monthly Test Summary

| Total Luminaires Tested: |  |
| --- | --- |
| Passed: |  |
| Failed / Requires Repair: |  |

Section 2: Annual Full Duration Test (90-Minute Duration)

Per BS 5266-1:2016 Section 12.4 — Each emergency light fitting shall be tested annually for the full rated duration (typically 90 minutes). Record observations at 30-minute intervals.

| Luminaire ID / Location | 30-Min Check (Illumination OK) | 60-Min Check (Illumination OK) | 90-Min Check (Illumination OK) | Battery Condition (No swelling/leak) | Charger Status (Green LED stable) | Pass / Fail | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- |

Annual Test Summary

| Total Luminaires Tested: |  |
| --- | --- |
| Passed Full 90 Min: |  |
| Failed During Test: |  |
| Batteries Replaced: |  |

Sign-Off

| Inspector Name: |  | Date: |  |
| --- | --- | --- | --- |
| Signature: |  | Company: |  |
| Reviewed By: |  | Review Date: |  |

Regulatory Reference

This checklist is designed to comply with BS 5266-1:2016 (Emergency Lighting – Code of Practice) and the Regulatory Reform (Fire Safety) Order 2005. For further guidance, refer to the current edition of BS 5266-1 and BS EN 1838.