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Emergency Light Inspection Checklist
InspectionReport.app — BS 5266-1:2016 Compliant
Site / Building: _______________
Inspector Name: _______________
Date of Inspection: _______________
Next Scheduled Inspection: _______________
Section 1: Monthly Functional Test (30-Second Duration)
Per BS 5266-1:2016 Section 12.3 — Each emergency light fitting shall be tested monthly by simulating a mains failure for a period sufficient to verify correct operation (minimum 30 seconds).
	Luminaire ID / Location
	Visual Inspection
(No damage, clean lens)
	Test Button
Operational
	Illumination OK
(LED / Bulb works)
	Battery Indicator
(Charging LED)
	Pass / Fail
	Comments / Actions

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	


Monthly Test Summary
	Total Luminaires Tested:
	

	Passed:
	

	Failed / Requires Repair:
	


Section 2: Annual Full Duration Test (90-Minute Duration)
Per BS 5266-1:2016 Section 12.4 — Each emergency light fitting shall be tested annually for the full rated duration (typically 90 minutes). Record observations at 30-minute intervals.
	Luminaire ID / Location
	30-Min Check
(Illumination OK)
	60-Min Check
(Illumination OK)
	90-Min Check
(Illumination OK)
	Battery Condition
(No swelling/leak)
	Charger Status
(Green LED stable)
	Pass / Fail
	Notes

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


Annual Test Summary
	Total Luminaires Tested:
	

	Passed Full 90 Min:
	

	Failed During Test:
	

	Batteries Replaced:
	


Sign-Off
	Inspector Name:
	
	Date:
	

	Signature:
	
	Company:
	

	Reviewed By:
	
	Review Date:
	


Regulatory Reference
This checklist is designed to comply with BS 5266-1:2016 (Emergency Lighting – Code of Practice) and the Regulatory Reform (Fire Safety) Order 2005. For further guidance, refer to the current edition of BS 5266-1 and BS EN 1838.
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