Home Inspection Report

Sample — 123 Maple Street, Springfield, IL 62704

Inspector: J. Doe, Licensed Home Inspector

Inspection date: 14 March 2026

Client: A. Buyer (purchaser)

Property type: Single-family home, built 1978

Report ID: HIR-2026-0314-01

Summary

The property was visually inspected on the date above. Findings are listed by severity with a recommended action and a photo reference for each. This sample shows the structure a finished home inspection report should have: property details up front, a severity-ordered findings table, and a sign-off block. It is an example, not a certified inspection.

Findings

| # | Location | Finding | Severity | Recommended action | Photo ref |
| --- | --- | --- | --- | --- | --- |
| 1 | Roof / rear slope | Missing shingle at rear slope, small area of exposed felt | Critical | Replace shingle, inspect sheathing for moisture | IMG_01 |
| 2 | Basement / NE corner | Moisture staining on ceiling, no active leak seen | Critical | Trace source, check for rot before closing | IMG_02 |
| 3 | Exterior / front steps | Handrail loose on one side | Minor | Secure handrail fixings | IMG_03 |
| 4 | Electrical / panel | Panel labeled, breakers identified | Positive | None — good condition noted | IMG_04 |
| 5 | Plumbing / water heater | T&P valve discharges to floor drain, no expansion tank | Minor | Verify discharge path meets local code | IMG_05 |

Systems inspected

Exterior: Siding, windows, doors, decks, grading, walkways

Roof: Covering, gutters, downspouts, flashing, chimney, vents

Structural: Foundation, framing, visible floor/ceiling/wall surfaces

Electrical: Main panel, wiring, outlets, GFCI/AFCI coverage

Plumbing: Fixtures, supply lines, water heater, visible drains

HVAC: Heating and cooling equipment, ductwork, thermostat

Interior: Ceilings, walls, floors, windows, doors, stairs, ventilation

Sign-off

This sample report is for illustration only and is not a certified inspection. In a real report, every finding is reviewed and approved by the inspector before the report is sent to the client.

Inspector: ______________________    Date: ____________