InspectionReport

Autoclave Sterilization Safety Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Pre-Cycle Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is the autoclave chamber free from debris, residue, and stains? (Visual inspection) | ☐ | ☐ | ☐ | ____________________ |
| Inspect the door seal for cracks, tears, or deformation. Is the seal pliable and properly seated? | ☐ | ☐ | ☐ | ____________________ |
| Verify the water level in the reservoir is within the recommended range as indicated by the manufacturer. | ☐ | ☐ | ☐ | ____________________ |
| Is the drain screen clear of obstructions to ensure proper drainage? | ☐ | ☐ | ☐ | ____________________ |
| Visually inspect temperature sensors for damage or corrosion. | ☐ | ☐ | ☐ | ____________________ |
| Verify the pressure gauge is functioning correctly and reads zero when the chamber is at atmospheric pressure. | ☐ | ☐ | ☐ | ____________________ |
| Confirm items are loaded according to validated procedures, ensuring proper steam penetration. | ☐ | ☐ | ☐ | ____________________ |
| Verify the autoclave is equipped with a functional air removal system (e.g., vacuum pump or steam-flush pressure-pulse). | ☐ | ☐ | ☐ | ____________________ |
| Confirm that the selected cycle parameters (temperature, pressure, time) are appropriate for the load being sterilized. | ☐ | ☐ | ☐ | ____________________ |
| Verify that all safety interlocks (e.g., door locking mechanism) are functioning correctly. | ☐ | ☐ | ☐ | ____________________ |

During-Cycle Monitoring

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Continuously monitor the pressure and temperature readings throughout the sterilization cycle. Are they within the validated range? | ☐ | ☐ | ☐ | ____________________ |
| Ensure the cycle time matches the validated sterilization parameters. | ☐ | ☐ | ☐ | ____________________ |
| Monitor for any alarms or error messages during the cycle. Document any occurrences. | ☐ | ☐ | ☐ | ____________________ |
| If applicable, monitor steam quality indicators to ensure adequate steam purity. | ☐ | ☐ | ☐ | ____________________ |
| Verify that condensate is being effectively removed from the chamber during the cycle. | ☐ | ☐ | ☐ | ____________________ |
| Visually inspect the door seal for any signs of steam leakage during the cycle. | ☐ | ☐ | ☐ | ____________________ |
| Monitor for excessive pressure fluctuations during the cycle, which could indicate a problem. | ☐ | ☐ | ☐ | ____________________ |
| Verify that the cycle is progressing through the expected phases (e.g., heating, sterilization, drying). | ☐ | ☐ | ☐ | ____________________ |

Post-Cycle Verification

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Verify that biological indicators (BIs) meet the required kill criteria after the cycle. Document results. | ☐ | ☐ | ☐ | ____________________ |
| Inspect chemical indicators for the appropriate color change, indicating adequate sterilization conditions. | ☐ | ☐ | ☐ | ____________________ |
| Visually inspect the load for any signs of damage or wetness. | ☐ | ☐ | ☐ | ____________________ |
| Ensure the drying time is sufficient to prevent condensation on sterilized items. | ☐ | ☐ | ☐ | ____________________ |
| Verify that the autoclave cycle completed successfully without any errors or interruptions. | ☐ | ☐ | ☐ | ____________________ |
| Ensure all cycle parameters, BI/CI results, and operator information are accurately documented in the autoclave log. | ☐ | ☐ | ☐ | ____________________ |
| Allow adequate cooling time before unloading the autoclave to prevent steam burns. | ☐ | ☐ | ☐ | ____________________ |
| Confirm that unloading procedures are followed to minimize the risk of contamination. | ☐ | ☐ | ☐ | ____________________ |

Maintenance and Calibration

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Verify that preventative maintenance is performed according to the manufacturer's recommendations and facility schedule. | ☐ | ☐ | ☐ | ____________________ |
| Review calibration records for temperature and pressure sensors. Are they within the required tolerances? | ☐ | ☐ | ☐ | ____________________ |
| Check the door seal replacement schedule. Is it within the recommended timeframe? | ☐ | ☐ | ☐ | ____________________ |
| Verify that filters are replaced according to the manufacturer's recommendations. | ☐ | ☐ | ☐ | ____________________ |
| Inspect the pressure relief valve for proper function and ensure it is not obstructed. | ☐ | ☐ | ☐ | ____________________ |
| Verify the steam trap is functioning correctly to remove condensate from the steam lines. | ☐ | ☐ | ☐ | ____________________ |
| Monitor the quality of the water used in the autoclave to prevent scale buildup and corrosion. | ☐ | ☐ | ☐ | ____________________ |
| Verify that the autoclave chamber is cleaned regularly according to the facility's SOP. | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________