BUILDING INSPECTION REPORT

Provided by InspectionReport.app

| Field | Value | Field | Value |
| --- | --- | --- | --- |
| Property Address: | ______________________________ | Inspection Date: | ______________ |
| Client Name: | ______________________________ | Inspector Name: | ______________ |
| Property Type: | ☐ Residential ☐ Commercial ☐ Industrial | Weather: | ______________ |
| Year Built: | ______________ | Square Footage: | ______________ |

# Executive Summary

Top 3-5 significant findings (complete after inspection):

1. ____________________________________________________________

2. ____________________________________________________________

3. ____________________________________________________________

4. ____________________________________________________________

5. ____________________________________________________________

# Rating Scale

| Rating | Description | Action Required |
| --- | --- | --- |
| S - Satisfactory | No defects noted | None |
| M - Minor Defect | Non-structural, cosmetic, or maintenance item | Monitor or repair at convenience |
| MD - Major Defect | Structural or safety issue requiring attention | Repair within recommended timeframe |
| NI - Not Inspected | Area inaccessible or not included | State reason |

# 1. Structural Elements

| Item | Rating (S/M/MD/NI) | Comments |
| --- | --- | --- |
| Foundation - type, cracks, settlement, moisture | ☐ S ☐ M ☐ MD ☐ NI |  |
| Wall framing - condition, bowing, cracking | ☐ S ☐ M ☐ MD ☐ NI |  |
| Floor structure - joists, beams, subfloor | ☐ S ☐ M ☐ MD ☐ NI |  |
| Load-bearing walls - alignment, condition | ☐ S ☐ M ☐ MD ☐ NI |  |
| Columns/Piers - condition, plumb, base | ☐ S ☐ M ☐ MD ☐ NI |  |

# 2. Roofing & Exterior

| Item | Rating (S/M/MD/NI) | Comments |
| --- | --- | --- |
| Roof covering - type, age, condition, leaks | ☐ S ☐ M ☐ MD ☐ NI |  |
| Gutters & downpipes - condition, blockages, discharge | ☐ S ☐ M ☐ MD ☐ NI |  |
| Flashing - condition, sealant, penetration seals | ☐ S ☐ M ☐ MD ☐ NI |  |
| Exterior walls - cladding, cracks, paint | ☐ S ☐ M ☐ MD ☐ NI |  |
| Windows & doors - operation, seals, frames | ☐ S ☐ M ☐ MD ☐ NI |  |
| Decks/Balconies - structure, guardrails, decking | ☐ S ☐ M ☐ MD ☐ NI |  |

# 3. Electrical Systems

| Item | Rating (S/M/MD/NI) | Comments |
| --- | --- | --- |
| Main switchboard - type, condition, labeling | ☐ S ☐ M ☐ MD ☐ NI |  |
| Wiring - visible condition, type | ☐ S ☐ M ☐ MD ☐ NI |  |
| Power points - quantity, location, condition | ☐ S ☐ M ☐ MD ☐ NI |  |
| Light fixtures - operation, condition | ☐ S ☐ M ☐ MD ☐ NI |  |
| Smoke detectors - location, operation | ☐ S ☐ M ☐ MD ☐ NI |  |
| Safety switches - RCD/GFCI test | ☐ S ☐ M ☐ MD ☐ NI |  |

# 4. Plumbing

| Item | Rating (S/M/MD/NI) | Comments |
| --- | --- | --- |
| Water supply pipes - material, condition, leaks | ☐ S ☐ M ☐ MD ☐ NI |  |
| Drainage pipes - flow, condition, blockages | ☐ S ☐ M ☐ MD ☐ NI |  |
| Water heater - type, age, capacity, TPR valve | ☐ S ☐ M ☐ MD ☐ NI |  |
| Fixtures - taps, toilets, basins, showers | ☐ S ☐ M ☐ MD ☐ NI |  |
| Water pressure - satisfactory / low | ☐ S ☐ M ☐ MD ☐ NI |  |

# 5. Interior Finishes

| Item | Rating (S/M/MD/NI) | Comments |
| --- | --- | --- |
| Walls & ceilings - cracks, damp patches, paint | ☐ S ☐ M ☐ MD ☐ NI |  |
| Floors - covering, level, condition | ☐ S ☐ M ☐ MD ☐ NI |  |
| Doors - operation, gaps, hardware | ☐ S ☐ M ☐ MD ☐ NI |  |
| Built-in cabinets - condition, operation | ☐ S ☐ M ☐ MD ☐ NI |  |
| Ventilation - fans, windows, extraction | ☐ S ☐ M ☐ MD ☐ NI |  |

# 6. Site & Grounds

| Item | Rating (S/M/MD/NI) | Comments |
| --- | --- | --- |
| Driveways & paths - condition, trip hazards | ☐ S ☐ M ☐ MD ☐ NI |  |
| Fencing & gates - condition, alignment | ☐ S ☐ M ☐ MD ☐ NI |  |
| Retaining walls - condition, drainage, cracks | ☐ S ☐ M ☐ MD ☐ NI |  |
| Drainage - surface water, grading | ☐ S ☐ M ☐ MD ☐ NI |  |
| Vegetation - contact with building, root damage | ☐ S ☐ M ☐ MD ☐ NI |  |

# Photo Documentation

[Insert Photo 1 - Description: ________________________]

[Insert Photo 2 - Description: ________________________]

[Insert Photo 3 - Description: ________________________]

[Insert Photo 4 - Description: ________________________]

[Insert Photo 5 - Description: ________________________]

[Insert Photo 6 - Description: ________________________]

# Sign-Off

| Inspector Signature: ___________________ Date: ______________ Company: ___________________ | Client Signature: ___________________ Date: ______________ Acknowledged: ☐ Yes ☐ No |
| --- | --- |

Generated with InspectionReport.app — Digital inspection checklists