InspectionReport

Building Maintenance Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

Jurisdiction: US. References OSHA 1910 standards (US). Adaptable to other jurisdictions by substituting local codes.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Facility and inspection header

| Field | Entry |
| --- | --- |
| Facility name and address | ________________________________________________ |
| Inspector name and date | ________________________________________________ |
| Inspection frequency (weekly / monthly / quarterly / annual) | ________________________________________________ |
| Weather conditions | ________________________________________________ |

HVAC systems

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Filter condition and last change date | ☐ | ☐ | ☐ | ____________________ |
| Coil cleanliness | ☐ | ☐ | ☐ | ____________________ |
| Refrigerant levels (if applicable) | ☐ | ☐ | ☐ | ____________________ |
| Condensate drain clear | ☐ | ☐ | ☐ | ____________________ |
| Fan operation and vibration | ☐ | ☐ | ☐ | ____________________ |

Electrical systems

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Main panel: labels legible, no signs of overheating | ☐ | ☐ | ☐ | ____________________ |
| Breakers: no tripped or damaged breakers | ☐ | ☐ | ☐ | ____________________ |
| Emergency lights: monthly test completed | ☐ | ☐ | ☐ | ____________________ |
| Exit signs: illuminated and unobstructed | ☐ | ☐ | ☐ | ____________________ |
| GFCI outlets: functional test in wet locations | ☐ | ☐ | ☐ | ____________________ |

Plumbing

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Visible pipe condition (no corrosion, leaks) | ☐ | ☐ | ☐ | ____________________ |
| Water heater: age, condition, T and P relief valve | ☐ | ☐ | ☐ | ____________________ |
| Drains: clear, no standing water | ☐ | ☐ | ☐ | ____________________ |
| Backflow preventers: tested and certified | ☐ | ☐ | ☐ | ____________________ |

Fire safety

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Fire extinguishers: monthly visual check completed, gauge in green, seal intact | ☐ | ☐ | ☐ | ____________________ |
| Fire alarm pull stations: accessible, not obstructed | ☐ | ☐ | ☐ | ____________________ |
| Sprinkler heads: visible, undamaged, not painted | ☐ | ☐ | ☐ | ____________________ |
| Exit signs and emergency lighting: illuminated | ☐ | ☐ | ☐ | ____________________ |

Structural and exterior

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Walls and floors: cracks, water damage, trip hazards | ☐ | ☐ | ☐ | ____________________ |
| Doors and hardware: operational, locks functional | ☐ | ☐ | ☐ | ____________________ |
| Roof: membrane condition, flashing, penetrations (bi-annual) | ☐ | ☐ | ☐ | ____________________ |
| Gutters and downspouts: clear of debris | ☐ | ☐ | ☐ | ____________________ |
| Sidewalks and driveways: cracks, trip hazards | ☐ | ☐ | ☐ | ____________________ |
| Handrails and guardrails: secure, no loose fittings | ☐ | ☐ | ☐ | ____________________ |

Corrective action and sign-off

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Defects noted with location and description | ☐ | ☐ | ☐ | ____________________ |
| Corrective action assigned | ☐ | ☐ | ☐ | ____________________ |
| Priority (immediate / scheduled) | ☐ | ☐ | ☐ | ____________________ |
| Inspector signature and date | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________

References consulted

OSHA 29 CFR 1910.22 – Walking-working surfaces

OSHA 29 CFR 1910.37 – Exit routes

OSHA 29 CFR 1910.157 – Portable fire extinguishers

NFPA 101: Life Safety Code (2024)

NFPA 25: Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems

Verify the current edition and local adoption before use.