InspectionReport

Commercial Kitchen Grease Trap Service Safety Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Mobile Equipment & Vehicle Safety

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is a current vehicle inspection report available and up-to-date, including brakes, lights, and tires? | ☐ | ☐ | ☐ | ____________________ |
| Does the vehicle's parking brake effectively hold the vehicle on an incline? | ☐ | ☐ | ☐ | ____________________ |
| Are wheel chocks available and used when parking on sloped surfaces during pumping operations? | ☐ | ☐ | ☐ | ____________________ |
| Inspect suction hose for cuts, abrasions, or kinks before each use. Replace if damaged. | ☐ | ☐ | ☐ | ____________________ |
| Are hose restraints (e.g., straps, chains) used to prevent uncontrolled hose movement if a coupling fails? | ☐ | ☐ | ☐ | ____________________ |
| Is the vacuum pump equipped with a functioning emergency shut-off switch, easily accessible to the operator? | ☐ | ☐ | ☐ | ____________________ |
| Is adequate lighting (minimum 5 foot-candles) provided around the work area and vehicle, especially during night operations? (Use portable lighting if needed) | ☐ | ☐ | ☐ | ____________________ |
| Is a spill kit readily available on the vehicle, containing absorbent materials, PPE, and disposal bags? | ☐ | ☐ | ☐ | ____________________ |
| Is a fully charged and inspected fire extinguisher (minimum 20-ABC rating) present on the vehicle? | ☐ | ☐ | ☐ | ____________________ |
| Is the vehicle horn operational? | ☐ | ☐ | ☐ | ____________________ |

Site Conditions & Hazard Control

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are walkways and work areas free of slip, trip, and fall hazards (e.g., grease spills, water, debris)? | ☐ | ☐ | ☐ | ____________________ |
| Are 'Wet Floor' signs prominently displayed in areas where cleaning or pumping operations create a slip hazard? | ☐ | ☐ | ☐ | ____________________ |
| Is there adequate ventilation in the area around the grease interceptor to prevent the buildup of toxic fumes (H2S, methane)? | ☐ | ☐ | ☐ | ____________________ |
| If entry into the grease interceptor is required, is a confined space entry permit in place, including atmospheric testing, ventilation, and rescue plan? | ☐ | ☐ | ☐ | ____________________ |
| Is adequate traffic control in place to protect workers from vehicle traffic (e.g., cones, barriers, flaggers)? | ☐ | ☐ | ☐ | ____________________ |
| Is the suction hose routed safely to avoid creating trip hazards or obstructing walkways? | ☐ | ☐ | ☐ | ____________________ |
| Is there a plan and equipment in place to contain any effluent spills during pumping operations? | ☐ | ☐ | ☐ | ____________________ |
| Are all electrical cords and equipment properly grounded and free from damage? | ☐ | ☐ | ☐ | ____________________ |
| Is there adequate overhead clearance for the vacuum truck and hose boom? | ☐ | ☐ | ☐ | ____________________ |
| Has the restaurant manager been notified of the service and any potential disruptions? | ☐ | ☐ | ☐ | ____________________ |

Personal Protective Equipment (PPE)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are safety glasses or goggles worn to protect against splashes and debris? | ☐ | ☐ | ☐ | ____________________ |
| Are chemical-resistant gloves worn to protect against contact with grease and effluent? | ☐ | ☐ | ☐ | ____________________ |
| Is respiratory protection (e.g., half-face respirator with appropriate cartridges) worn if there is a risk of exposure to toxic fumes (H2S, methane)? | ☐ | ☐ | ☐ | ____________________ |
| Are slip-resistant and chemical-resistant safety boots worn? | ☐ | ☐ | ☐ | ____________________ |
| Is high-visibility clothing (e.g., safety vest) worn to increase visibility to vehicle traffic? | ☐ | ☐ | ☐ | ____________________ |
| Is hearing protection (e.g., earplugs or earmuffs) worn if noise levels exceed 85 dBA? | ☐ | ☐ | ☐ | ____________________ |
| Inspect all PPE for damage (tears, cracks, etc.) before each use. Replace damaged PPE immediately. | ☐ | ☐ | ☐ | ____________________ |
| Ensure all PPE fits properly and is worn correctly. | ☐ | ☐ | ☐ | ____________________ |
| Is a hard hat worn if there is a risk of head injury from falling objects? | ☐ | ☐ | ☐ | ____________________ |

Pumping Operations

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all hose connections properly tightened and secured to prevent leaks or accidental disconnections? | ☐ | ☐ | ☐ | ____________________ |
| Monitor the vacuum gauge during pumping to prevent over-pressurization or damage to the system. | ☐ | ☐ | ☐ | ____________________ |
| Avoid kinking or sharp bends in the suction hose, which can restrict flow and damage the hose. | ☐ | ☐ | ☐ | ____________________ |
| Implement spill prevention measures during hose connections and disconnections (e.g., drip pans, absorbent pads). | ☐ | ☐ | ☐ | ____________________ |
| Monitor the tank level on the vacuum truck to prevent overfilling. | ☐ | ☐ | ☐ | ____________________ |
| Use hose supports or stands to prevent the hose from dragging on the ground and becoming damaged. | ☐ | ☐ | ☐ | ____________________ |
| Establish clear communication protocols between the technician operating the vacuum truck and the technician handling the hose at the interceptor. | ☐ | ☐ | ☐ | ____________________ |
| Verify the vacuum truck's pressure relief valve is functioning correctly. | ☐ | ☐ | ☐ | ____________________ |
| Visually inspect the hose during pumping operations for any signs of leaks or damage. | ☐ | ☐ | ☐ | ____________________ |

Documentation & Training

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are Material Safety Data Sheets (MSDS) or Safety Data Sheets (SDS) readily available for all chemicals used during the service? | ☐ | ☐ | ☐ | ____________________ |
| Are training records available to verify that all technicians are trained in safe grease trap service procedures, confined space entry (if applicable), and hazard communication? | ☐ | ☐ | ☐ | ____________________ |
| Is an emergency contact list readily available, including phone numbers for emergency services, the restaurant manager, and the company's safety officer? | ☐ | ☐ | ☐ | ____________________ |
| Has a site-specific risk assessment been conducted before starting the service, identifying potential hazards and control measures? | ☐ | ☐ | ☐ | ____________________ |
| If the grease interceptor is classified as a permit-required confined space, is a valid entry permit completed and posted? | ☐ | ☐ | ☐ | ____________________ |
| Are equipment maintenance logs maintained for the vacuum truck and pumping equipment? | ☐ | ☐ | ☐ | ____________________ |
| Is there a documented incident reporting procedure in place? | ☐ | ☐ | ☐ | ____________________ |
| Obtain customer sign-off on the service report, acknowledging completion of the work and any observed issues. | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________