InspectionReport

Municipal Sewer Confined Space Entry Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Pre-Entry Permit and Documentation

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is the confined space entry permit completed, signed, and dated by an authorized entry supervisor? | ☐ | ☐ | ☐ | ____________________ |
| Is a comprehensive hazard assessment documented, addressing potential atmospheric, physical, and engulfment hazards? | ☐ | ☐ | ☐ | ____________________ |
| Has the entry team (entrant, attendant, supervisor) been thoroughly briefed on the permit, hazards, and emergency procedures? | ☐ | ☐ | ☐ | ____________________ |
| Is an entry log available to track entry and exit times for all personnel? | ☐ | ☐ | ☐ | ____________________ |
| Is a non-entry rescue plan documented and readily available? | ☐ | ☐ | ☐ | ____________________ |
| Is there a log documenting the inspection of all entry equipment (gas monitors, retrieval systems, PPE) prior to use? | ☐ | ☐ | ☐ | ____________________ |
| Is the communication system between the entrant and attendant tested and confirmed to be working effectively? | ☐ | ☐ | ☐ | ____________________ |
| Are isolation procedures (lockout/tagout) verified to be in place for all potential energy sources and flow hazards? | ☐ | ☐ | ☐ | ____________________ |

Atmospheric Testing and Monitoring

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is the oxygen level within the acceptable range (19.5% - 23.5%)? | ☐ | ☐ | ☐ | ____________________ |
| Is the H2S level below the permissible exposure limit (PEL) as defined by OSHA? | ☐ | ☐ | ☐ | ____________________ |
| Are combustible gases below 10% of the Lower Explosive Limit (LEL)? | ☐ | ☐ | ☐ | ____________________ |
| Is the gas monitor calibrated within the manufacturer's recommended timeframe, and is calibration documented? | ☐ | ☐ | ☐ | ____________________ |
| Is atmospheric testing documented before entry and at regular intervals during entry? | ☐ | ☐ | ☐ | ____________________ |
| Are the gas monitor's audible and visual alarms functioning correctly? | ☐ | ☐ | ☐ | ____________________ |
| Was a bump test performed on the gas monitor prior to entry to verify sensor response? | ☐ | ☐ | ☐ | ____________________ |
| If ventilation is required, is it in operation and positioned to effectively remove contaminants? | ☐ | ☐ | ☐ | ____________________ |

Retrieval Systems and Fall Protection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is the tripod or retrieval system properly set up, stable, and anchored (if necessary)? | ☐ | ☐ | ☐ | ____________________ |
| Is the retrieval line in good condition, free from cuts, abrasions, or other damage? | ☐ | ☐ | ☐ | ____________________ |
| Is the entrant wearing a properly fitted full-body harness with a retrieval attachment point? | ☐ | ☐ | ☐ | ____________________ |
| Is a mechanical advantage system (e.g., winch) available for non-entry rescue? | ☐ | ☐ | ☐ | ____________________ |
| Is fall protection adequate for the specific entry point and potential fall hazards? | ☐ | ☐ | ☐ | ____________________ |
| Is the retrieval system rated for the weight of the entrant plus any equipment? | ☐ | ☐ | ☐ | ____________________ |
| If a self-retracting lifeline (SRL) is used, is it inspected and functioning correctly? | ☐ | ☐ | ☐ | ____________________ |
| Is edge protection in place to prevent the retrieval line from being damaged? | ☐ | ☐ | ☐ | ____________________ |
| Are rescue personnel trained in the proper use of the retrieval system? | ☐ | ☐ | ☐ | ____________________ |

Personal Protective Equipment (PPE)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is appropriate respiratory protection (e.g., SCBA, supplied air respirator) available and properly fitted if atmospheric hazards cannot be controlled? | ☐ | ☐ | ☐ | ____________________ |
| Is appropriate eye protection (e.g., safety glasses, goggles) provided and worn? | ☐ | ☐ | ☐ | ____________________ |
| Are chemical-resistant gloves worn to protect against potential contact with sewage or other contaminants? | ☐ | ☐ | ☐ | ____________________ |
| Is appropriate protective clothing (e.g., coveralls, Tyvek suits) worn to prevent skin contamination? | ☐ | ☐ | ☐ | ____________________ |
| Is head protection (hard hat) worn and in good condition? | ☐ | ☐ | ☐ | ____________________ |
| Is appropriate foot protection (e.g., steel-toed boots) worn? | ☐ | ☐ | ☐ | ____________________ |
| Is hearing protection available if noise levels exceed permissible limits? | ☐ | ☐ | ☐ | ____________________ |
| Has all PPE been inspected for damage or defects prior to use? | ☐ | ☐ | ☐ | ____________________ |

Site Control and Emergency Preparedness

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are barricades or warning signs in place to prevent unauthorized access to the confined space? | ☐ | ☐ | ☐ | ____________________ |
| Is emergency contact information readily available at the site? | ☐ | ☐ | ☐ | ____________________ |
| Is a fully stocked first-aid kit available at the site? | ☐ | ☐ | ☐ | ____________________ |
| Is a reliable method of communication established between the entrant, attendant, and emergency services? | ☐ | ☐ | ☐ | ____________________ |
| Has the local rescue team been notified of the entry and potential hazards? | ☐ | ☐ | ☐ | ____________________ |
| Is adequate lighting provided at the entry point and within the confined space? | ☐ | ☐ | ☐ | ____________________ |
| Is the ventilation equipment positioned so that it does not create a trip hazard or obstruct the entry point? | ☐ | ☐ | ☐ | ____________________ |
| Is traffic control in place to protect the entry team from vehicular traffic? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________