InspectionReport

Data Center UPS & Battery Room Safety Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Battery & UPS System Integrity

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Inspect battery terminals for corrosion. Are terminals clean and free of buildup? (Weekly Visual) | ☐ | ☐ | ☐ | ____________________ |
| Examine battery cases for cracks, swelling, or other signs of physical damage. Are all batteries free from defects? | ☐ | ☐ | ☐ | ____________________ |
| Check for any signs of electrolyte leakage (acid) around batteries and connections. Is there any evidence of spills or residue? | ☐ | ☐ | ☐ | ____________________ |
| Verify that the battery room ventilation system is operational and unobstructed. Is airflow adequate to prevent hydrogen buildup? | ☐ | ☐ | ☐ | ____________________ |
| Test hydrogen gas sensors to ensure they are functioning correctly and calibrated. Do sensors trigger alarms at appropriate levels? (Weekly Test) | ☐ | ☐ | ☐ | ____________________ |
| Review UPS system event logs for any alarms related to battery health or system faults. Are alarms promptly addressed and documented? | ☐ | ☐ | ☐ | ____________________ |
| Verify that the battery monitoring system is active and reporting accurate data (voltage, temperature, impedance). Is data trending within acceptable limits? | ☐ | ☐ | ☐ | ____________________ |
| Inspect battery inter-cell and terminal connections for tightness and proper torque. Are connections secure and within specified torque values? | ☐ | ☐ | ☐ | ____________________ |
| Verify that the battery room temperature is within the recommended operating range. Is temperature control system functioning correctly? | ☐ | ☐ | ☐ | ____________________ |
| Review battery impedance and conductance readings to assess battery aging. Are any batteries nearing end-of-life? | ☐ | ☐ | ☐ | ____________________ |

Electrical Safety & Arc Flash Prevention

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Verify that all breaker panels are clearly labeled with circuit descriptions. Are labels accurate and up-to-date? | ☐ | ☐ | ☐ | ____________________ |
| Inspect breaker panels for signs of overheating, corrosion, or physical damage. Are breakers in good working order? | ☐ | ☐ | ☐ | ____________________ |
| Confirm that a current arc flash hazard analysis has been performed and is readily available. Is the analysis less than 3 years old? | ☐ | ☐ | ☐ | ____________________ |
| Verify that appropriate arc flash PPE (Personal Protective Equipment) is available and in good condition. Is PPE rated for the potential hazard level? | ☐ | ☐ | ☐ | ____________________ |
| Ensure that insulated tools are used when working on or near energized equipment. Are tools inspected regularly for damage? | ☐ | ☐ | ☐ | ____________________ |
| Verify grounding continuity of all electrical equipment. Is grounding system properly installed and maintained? | ☐ | ☐ | ☐ | ____________________ |
| Ensure adequate working clearances are maintained around electrical equipment. Are clearances free from obstructions? | ☐ | ☐ | ☐ | ____________________ |
| Confirm that lockout/tagout procedures are followed when performing maintenance on electrical equipment. Are procedures documented and readily available? | ☐ | ☐ | ☐ | ____________________ |
| Inspect cable insulation for damage, cracking, or wear. Are cables properly supported and protected? | ☐ | ☐ | ☐ | ____________________ |
| Verify the functionality of the emergency shutdown system for the UPS and battery room. Is the system tested regularly? | ☐ | ☐ | ☐ | ____________________ |

Environmental & Safety Equipment

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Verify that an eyewash station is readily accessible and functioning correctly. Is the station inspected and maintained regularly? | ☐ | ☐ | ☐ | ____________________ |
| Ensure that a spill kit is available and contains appropriate materials for electrolyte spills. Is the kit properly stocked and accessible? | ☐ | ☐ | ☐ | ____________________ |
| Verify that a fire extinguisher (Class C) is readily accessible and inspected regularly. Is the extinguisher properly charged and tagged? | ☐ | ☐ | ☐ | ____________________ |
| Ensure that a first-aid kit is available and adequately stocked. Is the kit inspected regularly and replenished as needed? | ☐ | ☐ | ☐ | ____________________ |
| Verify that appropriate warning signs are posted, including arc flash hazard warnings, battery acid warnings, and no smoking signs. Are signs visible and legible? | ☐ | ☐ | ☐ | ____________________ |
| Ensure that access to the battery room is restricted to authorized personnel only. Is access control system functioning correctly? | ☐ | ☐ | ☐ | ____________________ |
| Verify adequate lighting levels within the battery room. Are lights functioning properly and providing sufficient illumination? | ☐ | ☐ | ☐ | ____________________ |
| Ensure the battery room is clean, organized, and free from obstructions. Is there any combustible material present? | ☐ | ☐ | ☐ | ____________________ |

Documentation & Training

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Verify that Safety Data Sheets (SDS) for battery electrolyte are readily available. Are SDS up-to-date? | ☐ | ☐ | ☐ | ____________________ |
| Review maintenance records for the UPS and battery system. Is maintenance performed according to schedule? | ☐ | ☐ | ☐ | ____________________ |
| Verify that personnel working on the UPS and battery system are adequately trained in electrical safety, arc flash awareness, and battery handling procedures. Are training records current? | ☐ | ☐ | ☐ | ____________________ |
| Ensure that an emergency response plan is in place for battery-related incidents (e.g., electrolyte spills, thermal runaway). Is the plan readily available and understood by personnel? | ☐ | ☐ | ☐ | ____________________ |
| Verify that up-to-date single-line diagrams of the UPS system are available. Are diagrams accurate and reflect current configuration? | ☐ | ☐ | ☐ | ____________________ |
| Confirm that a layout diagram of the battery room is available, showing battery locations, ventilation system, and safety equipment. Is the diagram accurate? | ☐ | ☐ | ☐ | ____________________ |
| Verify that a system is in place for reporting incidents and near misses related to the UPS and battery system. Are incidents investigated and corrective actions implemented? | ☐ | ☐ | ☐ | ____________________ |
| Review previous inspection reports for the UPS and battery room. Are identified issues being addressed in a timely manner? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________