InspectionReport

Data Center Electrical Safety Walk Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

LOTO (Lockout/Tagout) Compliance

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is a written LOTO procedure readily available and specific to the equipment being worked on? | ☐ | ☐ | ☐ | ____________________ |
| Are all authorized employees trained in LOTO procedures and can demonstrate competency? | ☐ | ☐ | ☐ | ____________________ |
| Are LOTO devices (locks and tags) properly applied and clearly identified with the employee's name? | ☐ | ☐ | ☐ | ____________________ |
| Is energy isolation verified before starting work (e.g., voltage testing after lockout)? | ☐ | ☐ | ☐ | ____________________ |
| Are electrical panels clearly labeled with voltage and LOTO requirements? | ☐ | ☐ | ☐ | ____________________ |
| For group LOTO, is a group lockout box used and properly managed? | ☐ | ☐ | ☐ | ____________________ |
| Has a periodic inspection of the LOTO procedure been conducted within the last 12 months? | ☐ | ☐ | ☐ | ____________________ |
| Is there a documented procedure for the safe removal of LOTO devices? | ☐ | ☐ | ☐ | ____________________ |
| Are LOTO locks and tags in good condition and specifically designed for LOTO purposes? | ☐ | ☐ | ☐ | ____________________ |
| Are all potential sources of hazardous energy (electrical, mechanical, pneumatic, etc.) properly controlled? | ☐ | ☐ | ☐ | ____________________ |

Arc Flash Hazard Assessment & PPE

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is a current arc flash hazard assessment available for the equipment being worked on (dated within the last 5 years)? | ☐ | ☐ | ☐ | ____________________ |
| Are arc flash warning labels present and legible on all electrical equipment? | ☐ | ☐ | ☐ | ____________________ |
| Is appropriate arc-rated PPE (clothing, face shield, gloves) available and in good condition? | ☐ | ☐ | ☐ | ____________________ |
| Is the arc rating of the PPE sufficient for the calculated incident energy level? | ☐ | ☐ | ☐ | ____________________ |
| Are workers aware of the arc flash boundary and approach distances? | ☐ | ☐ | ☐ | ____________________ |
| Is a Qualified Person present and supervising the work? | ☐ | ☐ | ☐ | ____________________ |
| Are insulated tools rated for the voltage being worked on? | ☐ | ☐ | ☐ | ____________________ |
| Is the multimeter CAT III or CAT IV rated and in good working order? | ☐ | ☐ | ☐ | ____________________ |
| Are unqualified persons kept outside the restricted approach boundary? | ☐ | ☐ | ☐ | ____________________ |
| Is appropriate head protection (hard hat) being worn? | ☐ | ☐ | ☐ | ____________________ |

Temporary Power & Grounding

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all temporary power circuits protected by Ground Fault Circuit Interrupters (GFCIs)? | ☐ | ☐ | ☐ | ____________________ |
| Are temporary power cords free from damage (cuts, abrasions, exposed conductors)? | ☐ | ☐ | ☐ | ____________________ |
| Are temporary power cords rated for the environment (e.g., wet location)? | ☐ | ☐ | ☐ | ____________________ |
| Are temporary power cords properly secured to prevent tripping hazards? | ☐ | ☐ | ☐ | ____________________ |
| Is all temporary electrical equipment properly grounded? | ☐ | ☐ | ☐ | ____________________ |
| Is there clear access to temporary power distribution panels? | ☐ | ☐ | ☐ | ____________________ |
| Are temporary power circuits protected by appropriate overcurrent protection (fuses or circuit breakers)? | ☐ | ☐ | ☐ | ____________________ |
| Are temporary power connections weatherproof and protected from the elements? | ☐ | ☐ | ☐ | ____________________ |
| Are extension cords used appropriately (not daisy-chained, not used as permanent wiring)? | ☐ | ☐ | ☐ | ____________________ |
| Are temporary power systems inspected regularly? | ☐ | ☐ | ☐ | ____________________ |

General Electrical Safety

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is there adequate working clearance (3 feet) in front of electrical panels? | ☐ | ☐ | ☐ | ____________________ |
| Are all electrical panel covers in place and securely fastened? | ☐ | ☐ | ☐ | ____________________ |
| Is any damaged electrical equipment (e.g., cracked enclosures, loose wiring) taken out of service? | ☐ | ☐ | ☐ | ____________________ |
| Are cables and wiring properly managed to prevent tripping hazards and damage? | ☐ | ☐ | ☐ | ____________________ |
| Are conduits and raceways properly installed and supported? | ☐ | ☐ | ☐ | ____________________ |
| Are electrical components protected from moisture, dust, and other environmental hazards? | ☐ | ☐ | ☐ | ____________________ |
| Are appropriate fire extinguishers (Class C) readily available near electrical equipment? | ☐ | ☐ | ☐ | ____________________ |
| Is the area around electrical equipment kept clean and free from obstructions? | ☐ | ☐ | ☐ | ____________________ |
| Are regular electrical inspections conducted and documented? | ☐ | ☐ | ☐ | ____________________ |
| Are extension cords used only for temporary connections and not as permanent wiring? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________