InspectionReport
EICR Preparation and Observation Reference (qualified persons only)
Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.
Jurisdiction: UK. UK reference for suitably qualified electrical professionals. It is not an EICR and does not authorize an unqualified person to inspect, classify, or certify an installation.
	Site / Project: ______________________________
	Address: ______________________________

	Inspector name: ______________________________
	Company: ______________________________

	Date: ______________________________
	Time: ______________________________


Inspection checklist
Installation details
	Field
	Entry

	Property address
	________________________________________________

	Date of inspection
	________________________________________________

	Inspector name and qualification
	________________________________________________

	Extent and limitations of inspection
	________________________________________________


General observations
	Field
	Entry

	Nature of installation (residential, commercial, industrial)
	________________________________________________

	Estimated date of installation
	________________________________________________

	Type of earthing system (TN-S, TN-C-S, TT)
	________________________________________________

	Main fuse / OCPD rating
	________________________________________________

	Number of circuits inspected
	________________________________________________


C1 – Danger present (immediate remedial action required)
	Item
	Pass
	Fail
	N/A
	Notes

	Exposed live conductors (damaged cabling, missing blanking plates)
	☐
	☐
	☐
	____________________

	Overheating connections (thermal damage, melting insulation, arcing)
	☐
	☐
	☐
	____________________

	Missing earthing (broken or absent main protective bonding)
	☐
	☐
	☐
	____________________

	Incorrect fuse ratings (oversized breakers on undersized cables)
	☐
	☐
	☐
	____________________


C2 – Potentially dangerous (urgent remedial action required)
	Item
	Pass
	Fail
	N/A
	Notes

	Missing RCD protection (for sockets used outdoors or in wet locations)
	☐
	☐
	☐
	____________________

	Damaged accessories (cracked sockets, shattered switches)
	☐
	☐
	☐
	____________________

	Inadequate bonding (lack of cross-bonding to metal pipework)
	☐
	☐
	☐
	____________________

	Environmental hazards (sockets dangerously close to water sources)
	☐
	☐
	☐
	____________________


C3 – Improvement recommended (advisory)
	Item
	Pass
	Fail
	N/A
	Notes

	Outdated cable colors (red/black vs. brown/blue)
	☐
	☐
	☐
	____________________

	Consumer unit labeling (missing circuit identification)
	☐
	☐
	☐
	____________________

	Buried cables (lack of RCD for cables <50mm in walls in low-risk zones)
	☐
	☐
	☐
	____________________

	Minor superficial damage (tiny chip in faceplate, no path to live contacts)
	☐
	☐
	☐
	____________________


FI – Further investigation required
	Item
	Pass
	Fail
	N/A
	Notes

	Description of concern requiring further investigation
	☐
	☐
	☐
	____________________

	Reason investigation cannot be completed during this inspection
	☐
	☐
	☐
	____________________


Overall assessment
	Field
	Entry

	Overall EICR outcome: Satisfactory / Unsatisfactory
	________________________________________________

	Summary of C1/C2/FI codes found
	________________________________________________

	Recommended timescale for remedial work
	________________________________________________

	Inspector signature and date
	________________________________________________


Findings
	#
	Item
	Location
	Severity
	Action required

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
	
	
	
	

	6
	
	
	
	

	7
	
	
	
	

	8
	
	
	
	


Signature
Inspector signature: ______________________________    Name: ______________________________
Date: ______________________________
References consulted
BS 7671: IET Wiring Regulations (18th Edition) (18th Edition (2018, amended 2022))
HSE – Electrical safety in the home
IET – Electrical Installation Condition Reports
HSE – Electrical safety at work
Verify the current edition and local adoption before use.
Free resource from inspectionreport.app - build an evidence-backed report from photos at https://www.inspectionreport.app/new-report
