InspectionReport

EICR Preparation and Observation Reference (qualified persons only)

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

Jurisdiction: UK. UK reference for suitably qualified electrical professionals. It is not an EICR and does not authorize an unqualified person to inspect, classify, or certify an installation.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Installation details

| Field | Entry |
| --- | --- |
| Property address | ________________________________________________ |
| Date of inspection | ________________________________________________ |
| Inspector name and qualification | ________________________________________________ |
| Extent and limitations of inspection | ________________________________________________ |

General observations

| Field | Entry |
| --- | --- |
| Nature of installation (residential, commercial, industrial) | ________________________________________________ |
| Estimated date of installation | ________________________________________________ |
| Type of earthing system (TN-S, TN-C-S, TT) | ________________________________________________ |
| Main fuse / OCPD rating | ________________________________________________ |
| Number of circuits inspected | ________________________________________________ |

C1 – Danger present (immediate remedial action required)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Exposed live conductors (damaged cabling, missing blanking plates) | ☐ | ☐ | ☐ | ____________________ |
| Overheating connections (thermal damage, melting insulation, arcing) | ☐ | ☐ | ☐ | ____________________ |
| Missing earthing (broken or absent main protective bonding) | ☐ | ☐ | ☐ | ____________________ |
| Incorrect fuse ratings (oversized breakers on undersized cables) | ☐ | ☐ | ☐ | ____________________ |

C2 – Potentially dangerous (urgent remedial action required)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Missing RCD protection (for sockets used outdoors or in wet locations) | ☐ | ☐ | ☐ | ____________________ |
| Damaged accessories (cracked sockets, shattered switches) | ☐ | ☐ | ☐ | ____________________ |
| Inadequate bonding (lack of cross-bonding to metal pipework) | ☐ | ☐ | ☐ | ____________________ |
| Environmental hazards (sockets dangerously close to water sources) | ☐ | ☐ | ☐ | ____________________ |

C3 – Improvement recommended (advisory)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Outdated cable colors (red/black vs. brown/blue) | ☐ | ☐ | ☐ | ____________________ |
| Consumer unit labeling (missing circuit identification) | ☐ | ☐ | ☐ | ____________________ |
| Buried cables (lack of RCD for cables <50mm in walls in low-risk zones) | ☐ | ☐ | ☐ | ____________________ |
| Minor superficial damage (tiny chip in faceplate, no path to live contacts) | ☐ | ☐ | ☐ | ____________________ |

FI – Further investigation required

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Description of concern requiring further investigation | ☐ | ☐ | ☐ | ____________________ |
| Reason investigation cannot be completed during this inspection | ☐ | ☐ | ☐ | ____________________ |

Overall assessment

| Field | Entry |
| --- | --- |
| Overall EICR outcome: Satisfactory / Unsatisfactory | ________________________________________________ |
| Summary of C1/C2/FI codes found | ________________________________________________ |
| Recommended timescale for remedial work | ________________________________________________ |
| Inspector signature and date | ________________________________________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________

References consulted

BS 7671: IET Wiring Regulations (18th Edition) (18th Edition (2018, amended 2022))

HSE – Electrical safety in the home

IET – Electrical Installation Condition Reports

HSE – Electrical safety at work

Verify the current edition and local adoption before use.