InspectionReport

Electrical Inspection Report (US) - NFPA 70B and NEC

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

Jurisdiction: US. NFPA 70B (electrical equipment maintenance standard) and NFPA 70 (NEC, installation code) are US standards. OSHA 29 CFR 1910.303 and 1910.334 address workplace electrical safety.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Report header

| Field | Entry |
| --- | --- |
| Facility name and address | ________________________________________________ |
| Inspector name and qualification | ________________________________________________ |
| Inspection date | ________________________________________________ |
| Inspection type (annual / quarterly / pre-occupancy / post-repair / insurance-driven) | ________________________________________________ |

Service entrance and disconnects

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Condition of service entrance equipment | ☐ | ☐ | ☐ | ____________________ |
| Access and working clearances | ☐ | ☐ | ☐ | ____________________ |
| Labeling accuracy | ☐ | ☐ | ☐ | ____________________ |
| Corrosion and damage | ☐ | ☐ | ☐ | ____________________ |
| Visible service conductors | ☐ | ☐ | ☐ | ____________________ |

Panelboards and switchgear

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Directory accuracy | ☐ | ☐ | ☐ | ____________________ |
| Dead-front covers in place | ☐ | ☐ | ☐ | ____________________ |
| Missing knockouts | ☐ | ☐ | ☐ | ____________________ |
| Evidence of overheating | ☐ | ☐ | ☐ | ____________________ |
| Breaker condition | ☐ | ☐ | ☐ | ____________________ |
| Enclosure integrity | ☐ | ☐ | ☐ | ____________________ |

Grounding and bonding

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Grounding electrode conductors: visible condition | ☐ | ☐ | ☐ | ____________________ |
| Bonding jumpers: present and intact | ☐ | ☐ | ☐ | ____________________ |
| Equipment grounding conductors: continuity | ☐ | ☐ | ☐ | ____________________ |
| Visible continuity concerns | ☐ | ☐ | ☐ | ____________________ |

Branch circuits and devices

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Receptacle condition | ☐ | ☐ | ☐ | ____________________ |
| Damaged cords | ☐ | ☐ | ☐ | ____________________ |
| Exposed conductors | ☐ | ☐ | ☐ | ____________________ |
| Junction boxes: covers in place | ☐ | ☐ | ☐ | ____________________ |
| Lighting: condition | ☐ | ☐ | ☐ | ____________________ |
| Wet-location protection | ☐ | ☐ | ☐ | ____________________ |

GFCI and AFCI protection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Required locations identified | ☐ | ☐ | ☐ | ____________________ |
| Labeling present | ☐ | ☐ | ☐ | ____________________ |
| Accessible reset points | ☐ | ☐ | ☐ | ____________________ |
| Functional test records where applicable | ☐ | ☐ | ☐ | ____________________ |

Findings and corrective actions

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Equipment identified (building, room, panel name, asset ID, voltage, circuit/feeder) | ☐ | ☐ | ☐ | ____________________ |
| Photo evidence: wide photos for location context, close-ups for defect | ☐ | ☐ | ☐ | ____________________ |
| Observation: visible condition described without overstating | ☐ | ☐ | ☐ | ____________________ |
| Action: repair, further investigation, lockout, qualified electrician review, or maintenance scheduling | ☐ | ☐ | ☐ | ____________________ |
| Applicable standard or code section cited | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________

References consulted

NFPA 70B: Standard for Electrical Equipment Maintenance (2023)

NFPA 70: National Electrical Code (NEC) (2023)

OSHA 29 CFR 1910.303 – Installation requirements

OSHA 29 CFR 1910.334 – Safe work practices

Verify the current edition and local adoption before use.