InspectionReport
Electrical Inspection Report (US) - NFPA 70B and NEC
Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.
Jurisdiction: US. NFPA 70B (electrical equipment maintenance standard) and NFPA 70 (NEC, installation code) are US standards. OSHA 29 CFR 1910.303 and 1910.334 address workplace electrical safety.
	Site / Project: ______________________________
	Address: ______________________________

	Inspector name: ______________________________
	Company: ______________________________

	Date: ______________________________
	Time: ______________________________


Inspection checklist
Report header
	Field
	Entry

	Facility name and address
	________________________________________________

	Inspector name and qualification
	________________________________________________

	Inspection date
	________________________________________________

	Inspection type (annual / quarterly / pre-occupancy / post-repair / insurance-driven)
	________________________________________________


Service entrance and disconnects
	Item
	Pass
	Fail
	N/A
	Notes

	Condition of service entrance equipment
	☐
	☐
	☐
	____________________

	Access and working clearances
	☐
	☐
	☐
	____________________

	Labeling accuracy
	☐
	☐
	☐
	____________________

	Corrosion and damage
	☐
	☐
	☐
	____________________

	Visible service conductors
	☐
	☐
	☐
	____________________


Panelboards and switchgear
	Item
	Pass
	Fail
	N/A
	Notes

	Directory accuracy
	☐
	☐
	☐
	____________________

	Dead-front covers in place
	☐
	☐
	☐
	____________________

	Missing knockouts
	☐
	☐
	☐
	____________________

	Evidence of overheating
	☐
	☐
	☐
	____________________

	Breaker condition
	☐
	☐
	☐
	____________________

	Enclosure integrity
	☐
	☐
	☐
	____________________


Grounding and bonding
	Item
	Pass
	Fail
	N/A
	Notes

	Grounding electrode conductors: visible condition
	☐
	☐
	☐
	____________________

	Bonding jumpers: present and intact
	☐
	☐
	☐
	____________________

	Equipment grounding conductors: continuity
	☐
	☐
	☐
	____________________

	Visible continuity concerns
	☐
	☐
	☐
	____________________


Branch circuits and devices
	Item
	Pass
	Fail
	N/A
	Notes

	Receptacle condition
	☐
	☐
	☐
	____________________

	Damaged cords
	☐
	☐
	☐
	____________________

	Exposed conductors
	☐
	☐
	☐
	____________________

	Junction boxes: covers in place
	☐
	☐
	☐
	____________________

	Lighting: condition
	☐
	☐
	☐
	____________________

	Wet-location protection
	☐
	☐
	☐
	____________________


GFCI and AFCI protection
	Item
	Pass
	Fail
	N/A
	Notes

	Required locations identified
	☐
	☐
	☐
	____________________

	Labeling present
	☐
	☐
	☐
	____________________

	Accessible reset points
	☐
	☐
	☐
	____________________

	Functional test records where applicable
	☐
	☐
	☐
	____________________


Findings and corrective actions
	Item
	Pass
	Fail
	N/A
	Notes

	Equipment identified (building, room, panel name, asset ID, voltage, circuit/feeder)
	☐
	☐
	☐
	____________________

	Photo evidence: wide photos for location context, close-ups for defect
	☐
	☐
	☐
	____________________

	Observation: visible condition described without overstating
	☐
	☐
	☐
	____________________

	Action: repair, further investigation, lockout, qualified electrician review, or maintenance scheduling
	☐
	☐
	☐
	____________________

	Applicable standard or code section cited
	☐
	☐
	☐
	____________________


Findings
	#
	Item
	Location
	Severity
	Action required

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
	
	
	
	

	6
	
	
	
	

	7
	
	
	
	

	8
	
	
	
	


Signature
Inspector signature: ______________________________    Name: ______________________________
Date: ______________________________
References consulted
NFPA 70B: Standard for Electrical Equipment Maintenance (2023)
NFPA 70: National Electrical Code (NEC) (2023)
OSHA 29 CFR 1910.303 – Installation requirements
OSHA 29 CFR 1910.334 – Safe work practices
Verify the current edition and local adoption before use.
Free resource from inspectionreport.app - build an evidence-backed report from photos at https://www.inspectionreport.app/new-report
