InspectionReport
Gas Safety Inspection Preparation Record (not a CP12)
Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.
Jurisdiction: UK. UK reference for Gas Safe registered engineers and landlords preparing for a statutory check. It is not a CP12 or Landlord Gas Safety Record and cannot be issued in place of one.
	Site / Project: ______________________________
	Address: ______________________________

	Inspector name: ______________________________
	Company: ______________________________

	Date: ______________________________
	Time: ______________________________


Inspection checklist
Property and landlord information
	Field
	Entry

	Property address
	________________________________________________

	Landlord name and contact
	________________________________________________

	Tenant name (if applicable)
	________________________________________________

	Inspection date
	________________________________________________


Engineer details
	Field
	Entry

	Engineer name
	________________________________________________

	Gas Safe registration number
	________________________________________________

	Company name and address
	________________________________________________


Appliance checks
	Item
	Pass
	Fail
	N/A
	Notes

	Appliance type and location (boiler, fire, cooker)
	☐
	☐
	☐
	____________________

	Appliance make and model
	☐
	☐
	☐
	____________________

	Operating pressure: within manufacturer specification
	☐
	☐
	☐
	____________________

	Heat input: within manufacturer specification
	☐
	☐
	☐
	____________________

	Flue and exhaust routing: secure, unobstructed, catching waste gases cleanly
	☐
	☐
	☐
	____________________

	Flue hidden in ceiling voids: checked via inspection hatch
	☐
	☐
	☐
	____________________

	Pipework tightness test: no leaks detected
	☐
	☐
	☐
	____________________

	Carbon monoxide alarm: present and functional (in rooms with gas appliances, excluding cookers)
	☐
	☐
	☐
	____________________


Appliance status classification
	Item
	Pass
	Fail
	N/A
	Notes

	Appliance condition: Satisfactory / At Risk (AR) / Immediately Dangerous (ID)
	☐
	☐
	☐
	____________________

	For ID appliances: physically disconnected and capped, landlord notified
	☐
	☐
	☐
	____________________

	For AR appliances: remedial action required, timescale noted
	☐
	☐
	☐
	____________________


Certificate issuance and tenant notification
	Field
	Entry

	Next statutory check due date recorded in accordance with current HSE timing rules
	________________________________________________

	Copy provided to existing tenant within 28 days: Yes / No
	________________________________________________

	Copy provided to new tenant before move-in: Yes / No
	________________________________________________

	Copy retained by landlord: Yes
	________________________________________________

	Engineer signature and date
	________________________________________________


Findings
	#
	Item
	Location
	Severity
	Action required

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
	
	
	
	

	6
	
	
	
	

	7
	
	
	
	

	8
	
	
	
	


Signature
Inspector signature: ______________________________    Name: ______________________________
Date: ______________________________
References consulted
Gas Safety (Installation and Use) Regulations 1998
Gas Safe Register – Official UK Gas Engineer Register
HSE – Gas safety for landlords (GS638)
UK Government – Gas safety certificates for landlords
Verify the current edition and local adoption before use.
Free resource from inspectionreport.app - build an evidence-backed report from photos at https://www.inspectionreport.app/new-report
