InspectionReport

Gas Safety Inspection Preparation Record (not a CP12)

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

Jurisdiction: UK. UK reference for Gas Safe registered engineers and landlords preparing for a statutory check. It is not a CP12 or Landlord Gas Safety Record and cannot be issued in place of one.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Property and landlord information

| Field | Entry |
| --- | --- |
| Property address | ________________________________________________ |
| Landlord name and contact | ________________________________________________ |
| Tenant name (if applicable) | ________________________________________________ |
| Inspection date | ________________________________________________ |

Engineer details

| Field | Entry |
| --- | --- |
| Engineer name | ________________________________________________ |
| Gas Safe registration number | ________________________________________________ |
| Company name and address | ________________________________________________ |

Appliance checks

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Appliance type and location (boiler, fire, cooker) | ☐ | ☐ | ☐ | ____________________ |
| Appliance make and model | ☐ | ☐ | ☐ | ____________________ |
| Operating pressure: within manufacturer specification | ☐ | ☐ | ☐ | ____________________ |
| Heat input: within manufacturer specification | ☐ | ☐ | ☐ | ____________________ |
| Flue and exhaust routing: secure, unobstructed, catching waste gases cleanly | ☐ | ☐ | ☐ | ____________________ |
| Flue hidden in ceiling voids: checked via inspection hatch | ☐ | ☐ | ☐ | ____________________ |
| Pipework tightness test: no leaks detected | ☐ | ☐ | ☐ | ____________________ |
| Carbon monoxide alarm: present and functional (in rooms with gas appliances, excluding cookers) | ☐ | ☐ | ☐ | ____________________ |

Appliance status classification

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Appliance condition: Satisfactory / At Risk (AR) / Immediately Dangerous (ID) | ☐ | ☐ | ☐ | ____________________ |
| For ID appliances: physically disconnected and capped, landlord notified | ☐ | ☐ | ☐ | ____________________ |
| For AR appliances: remedial action required, timescale noted | ☐ | ☐ | ☐ | ____________________ |

Certificate issuance and tenant notification

| Field | Entry |
| --- | --- |
| Next statutory check due date recorded in accordance with current HSE timing rules | ________________________________________________ |
| Copy provided to existing tenant within 28 days: Yes / No | ________________________________________________ |
| Copy provided to new tenant before move-in: Yes / No | ________________________________________________ |
| Copy retained by landlord: Yes | ________________________________________________ |
| Engineer signature and date | ________________________________________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________

References consulted

Gas Safety (Installation and Use) Regulations 1998

Gas Safe Register – Official UK Gas Engineer Register

HSE – Gas safety for landlords (GS638)

UK Government – Gas safety certificates for landlords

Verify the current edition and local adoption before use.