InspectionReport

Daily Hazard Observation Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

General Housekeeping

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are walkways and access points free from obstructions (materials, debris, tools)? | ☐ | ☐ | ☐ | ____________________ |
| Are waste containers readily available and emptied regularly to prevent overflow? | ☐ | ☐ | ☐ | ____________________ |
| Are materials stored in a safe and orderly manner, preventing tripping hazards and access to emergency equipment? | ☐ | ☐ | ☐ | ____________________ |
| Are spill kits readily available and properly stocked in areas where spills are likely? | ☐ | ☐ | ☐ | ____________________ |
| Is adequate lighting provided in all work areas, especially during evening or night shifts (minimum 5 foot-candles)? | ☐ | ☐ | ☐ | ____________________ |
| Are fire exits clearly marked, unobstructed, and easily accessible? | ☐ | ☐ | ☐ | ____________________ |
| Are extension cords properly routed to prevent tripping hazards (e.g., overhead or secured)? | ☐ | ☐ | ☐ | ____________________ |
| Is there any standing water or other liquids accumulating in walkways or work areas creating slip hazards? | ☐ | ☐ | ☐ | ____________________ |
| Are sharp objects (nails, screws, metal scraps) properly contained to prevent puncture wounds? | ☐ | ☐ | ☐ | ____________________ |
| Are dust control measures in place to minimize airborne dust and debris? | ☐ | ☐ | ☐ | ____________________ |

Personal Protective Equipment (PPE)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are hard hats worn correctly and in good condition (no cracks, dents, or damage)? | ☐ | ☐ | ☐ | ____________________ |
| Is appropriate eye protection (safety glasses, goggles, face shields) used when exposed to flying particles, chemicals, or radiation? | ☐ | ☐ | ☐ | ____________________ |
| Are employees wearing appropriate foot protection (steel-toed boots) in areas where there is a risk of foot injury? | ☐ | ☐ | ☐ | ____________________ |
| Are high-visibility vests or clothing worn by workers exposed to vehicular traffic? | ☐ | ☐ | ☐ | ____________________ |
| Are appropriate gloves worn for the task being performed (e.g., cut-resistant, chemical-resistant)? | ☐ | ☐ | ☐ | ____________________ |
| Is hearing protection available and used in areas where noise levels exceed 85 dBA (time-weighted average)? | ☐ | ☐ | ☐ | ____________________ |
| Is respiratory protection required and used correctly in areas with airborne contaminants; is medical clearance and fit testing documented? | ☐ | ☐ | ☐ | ____________________ |
| Are fall protection harnesses inspected before each use for damage or defects? | ☐ | ☐ | ☐ | ____________________ |
| Is all PPE properly fitted to the individual worker? | ☐ | ☐ | ☐ | ____________________ |
| Is PPE properly maintained and stored when not in use? | ☐ | ☐ | ☐ | ____________________ |

Slip, Trip, and Fall Hazards

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are cables and cords secured or covered to prevent tripping hazards? | ☐ | ☐ | ☐ | ____________________ |
| Are uneven surfaces, holes, or depressions clearly marked or barricaded? | ☐ | ☐ | ☐ | ____________________ |
| Is debris cleared from walkways and work areas to prevent tripping hazards? | ☐ | ☐ | ☐ | ____________________ |
| Are wet or slippery surfaces treated with anti-slip materials or clearly marked? | ☐ | ☐ | ☐ | ____________________ |
| Are ice and snow removed from walkways and access points? | ☐ | ☐ | ☐ | ____________________ |
| Are guardrails installed on elevated platforms or open sides where there is a fall risk of 6 feet or more? | ☐ | ☐ | ☐ | ____________________ |
| Are stairways equipped with handrails and maintained in good condition? | ☐ | ☐ | ☐ | ____________________ |
| Are ladders inspected before use and used at the correct angle (4:1 ratio)? | ☐ | ☐ | ☐ | ____________________ |
| Are floor openings (holes) covered or guarded to prevent falls? | ☐ | ☐ | ☐ | ____________________ |
| Is scaffolding erected and used according to manufacturer's specifications and OSHA standards? | ☐ | ☐ | ☐ | ____________________ |

Mobile Equipment & Vehicle Safety

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all mobile equipment (forklifts, loaders, trucks) equipped with functioning backup alarms? | ☐ | ☐ | ☐ | ____________________ |
| Are all equipment operators properly trained and certified to operate the equipment? | ☐ | ☐ | ☐ | ____________________ |
| Are daily equipment inspections conducted and documented before each shift? | ☐ | ☐ | ☐ | ____________________ |
| Are seatbelts available and used by all equipment operators? | ☐ | ☐ | ☐ | ____________________ |
| Is the equipment horn functioning properly? | ☐ | ☐ | ☐ | ____________________ |
| Are traffic control measures in place to separate pedestrians from vehicular traffic? | ☐ | ☐ | ☐ | ____________________ |
| Are speed limits enforced on the job site? | ☐ | ☐ | ☐ | ____________________ |
| Are vehicles parked in designated areas and not obstructing access points or emergency routes? | ☐ | ☐ | ☐ | ____________________ |
| Is fueling of equipment performed in designated areas with spill containment measures? | ☐ | ☐ | ☐ | ____________________ |
| Is equipment properly maintained and serviced according to manufacturer's recommendations? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________