InspectionReport
Industrial Chemical Storage & HAZMAT Inspection Checklist
Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.
	Site / Project: ______________________________
	Address: ______________________________

	Inspector name: ______________________________
	Company: ______________________________

	Date: ______________________________
	Time: ______________________________


Inspection checklist
SDS (Safety Data Sheet) Management
	Item
	Pass
	Fail
	N/A
	Notes

	Are SDSs readily accessible to employees in the work area for all chemicals in use? (Electronic or hard copy)
	☐
	☐
	☐
	____________________

	Do all SDSs contain the required 16 sections as per GHS standards?
	☐
	☐
	☐
	____________________

	Are all SDSs current (not older than 3-5 years, or updated if new information is available)?
	☐
	☐
	☐
	____________________

	Are SDSs available in English and any other language understood by employees?
	☐
	☐
	☐
	____________________

	If SDSs are stored electronically, is the system reliable and accessible during power outages (backup power)?
	☐
	☐
	☐
	____________________

	Is there a process in place to obtain SDSs for new chemicals before they are brought on-site?
	☐
	☐
	☐
	____________________

	Is there a documented process for reviewing and updating SDSs periodically?
	☐
	☐
	☐
	____________________

	Do SDSs include emergency contact information for spills, leaks, or other incidents?
	☐
	☐
	☐
	____________________

	Have employees been trained on how to access and interpret SDS information?
	☐
	☐
	☐
	____________________

	Is the location of SDSs clearly posted in the chemical storage area?
	☐
	☐
	☐
	____________________


Chemical Labeling and Identification
	Field
	Entry

	Are all primary chemical containers clearly labeled with the chemical identity, hazard warnings, and manufacturer information?
	________________________________________________

	Are all secondary containers labeled with the chemical identity and appropriate hazard warnings (GHS pictograms)?
	________________________________________________

	Are all labels legible and in good condition (not faded, torn, or obscured)?
	________________________________________________

	Are GHS pictograms present and correct for each hazardous chemical?
	________________________________________________

	Are NFPA hazard ratings (health, flammability, reactivity) displayed for appropriate chemicals?
	________________________________________________

	Are chemicals dated upon receipt to track shelf life and ensure proper disposal?
	________________________________________________

	Do labels on containers match the information provided in the corresponding SDS?
	________________________________________________

	Are old or irrelevant labels removed from containers to avoid confusion?
	________________________________________________

	Are water-reactive chemicals clearly labeled with appropriate warnings?
	________________________________________________

	Are peroxide-forming chemicals labeled with date received and date opened?
	________________________________________________


Chemical Storage and Compatibility
	Item
	Pass
	Fail
	N/A
	Notes

	Are incompatible chemicals segregated to prevent dangerous reactions (acids from bases, oxidizers from flammables)?
	☐
	☐
	☐
	____________________

	Are corrosive chemicals stored in designated corrosive cabinets?
	☐
	☐
	☐
	____________________

	Are flammable chemicals stored in approved flammable liquid storage cabinets?
	☐
	☐
	☐
	____________________

	Are flammable liquid storage cabinets properly grounded?
	☐
	☐
	☐
	____________________

	Are shelves in storage areas capable of supporting the weight of the chemicals stored on them?
	☐
	☐
	☐
	____________________

	Is adequate spill containment provided in storage areas (e.g., spill trays, berms)?
	☐
	☐
	☐
	____________________

	Is the chemical storage area adequately ventilated to prevent the buildup of hazardous vapors?
	☐
	☐
	☐
	____________________

	Are temperature-sensitive chemicals stored at the appropriate temperature?
	☐
	☐
	☐
	____________________

	Are chemicals stored in a manner that prevents tipping or falling (no excessive stacking)?
	☐
	☐
	☐
	____________________

	Is the chemical storage area secured to prevent unauthorized access?
	☐
	☐
	☐
	____________________

	Are peroxide-forming chemicals stored away from heat, light, and ignition sources?
	☐
	☐
	☐
	____________________


Emergency Equipment and Procedures
	Item
	Pass
	Fail
	N/A
	Notes

	Is an eyewash station readily accessible within 10 seconds of potential chemical exposure?
	☐
	☐
	☐
	____________________

	Is a safety shower readily accessible within 10 seconds of potential chemical exposure?
	☐
	☐
	☐
	____________________

	Is a suitable fire extinguisher readily available and inspected monthly?
	☐
	☐
	☐
	____________________

	Is a chemical spill kit readily available and stocked with appropriate materials?
	☐
	☐
	☐
	____________________

	Is a first-aid kit readily available and adequately stocked?
	☐
	☐
	☐
	____________________

	Is an emergency contact list posted in a prominent location?
	☐
	☐
	☐
	____________________

	Is an evacuation plan posted and understood by employees?
	☐
	☐
	☐
	____________________

	Is there a functional alarm system to alert employees in case of a chemical release or fire?
	☐
	☐
	☐
	____________________

	Is appropriate personal protective equipment (PPE) readily available and in good condition?
	☐
	☐
	☐
	____________________

	Is the eyewash station tested weekly to ensure proper function?
	☐
	☐
	☐
	____________________

	Is the safety shower tested annually to ensure proper function?
	☐
	☐
	☐
	____________________


Housekeeping and General Conditions
	Item
	Pass
	Fail
	N/A
	Notes

	Are aisles and walkways clear of obstructions to allow for safe passage and emergency egress?
	☐
	☐
	☐
	____________________

	Are spills cleaned up immediately to prevent slips, trips, and falls?
	☐
	☐
	☐
	____________________

	Are chemical waste containers properly labeled and managed according to hazardous waste regulations?
	☐
	☐
	☐
	____________________

	Are chemical containers in good condition (no leaks, rust, or damage)?
	☐
	☐
	☐
	____________________

	Is there an effective pest control program in place to prevent damage to chemical containers?
	☐
	☐
	☐
	____________________

	Is the chemical storage area adequately lit to allow for safe handling and inspection?
	☐
	☐
	☐
	____________________

	Is there proper drainage in the chemical storage area to prevent the accumulation of liquids?
	☐
	☐
	☐
	____________________

	Is appropriate signage posted to indicate the presence of hazardous chemicals and emergency procedures?
	☐
	☐
	☐
	____________________

	Are empty chemical containers properly disposed of or cleaned and stored?
	☐
	☐
	☐
	____________________

	Is eating, drinking, and smoking prohibited in the chemical storage area?
	☐
	☐
	☐
	____________________


Findings
	#
	Item
	Location
	Severity
	Action required

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
	
	
	
	

	6
	
	
	
	

	7
	
	
	
	

	8
	
	
	
	


Signature
Inspector signature: ______________________________    Name: ______________________________
Date: ______________________________
Free resource from inspectionreport.app - build an evidence-backed report from photos at https://www.inspectionreport.app/new-report
