InspectionReport

Medical Gas Piping & Storage Inspection Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Medical Gas Manifold Room Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is access to the manifold room restricted to authorized personnel only? | ☐ | ☐ | ☐ | ____________________ |
| Is proper signage displayed indicating the gases present and emergency contact information? | ☐ | ☐ | ☐ | ____________________ |
| Is the manifold room adequately ventilated to prevent the buildup of oxygen or other gases? | ☐ | ☐ | ☐ | ____________________ |
| Is the manifold room clean, free of combustible materials, and properly maintained? | ☐ | ☐ | ☐ | ____________________ |
| Are all cylinder connections tight and free of leaks (check with appropriate leak detection solution)? | ☐ | ☐ | ☐ | ____________________ |
| Are pressure regulators functioning correctly and set to the appropriate delivery pressure? | ☐ | ☐ | ☐ | ____________________ |
| Is the reserve gas supply (if applicable) full and ready for immediate use? | ☐ | ☐ | ☐ | ____________________ |
| Is the medical gas alarm system functioning correctly, with audible and visual alarms tested? | ☐ | ☐ | ☐ | ____________________ |
| Are emergency shut-off valves clearly labeled and easily accessible? | ☐ | ☐ | ☐ | ____________________ |
| Are all electrical components in the manifold room properly grounded and free from hazards? | ☐ | ☐ | ☐ | ____________________ |
| Are all medical gas pipelines properly identified with labels indicating the gas type and flow direction? | ☐ | ☐ | ☐ | ____________________ |
| Is appropriate fire protection equipment (e.g., fire extinguisher) readily available and inspected? | ☐ | ☐ | ☐ | ____________________ |

Medical Gas Cylinder Storage Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are medical gas cylinders stored in a secure area, protected from unauthorized access? | ☐ | ☐ | ☐ | ____________________ |
| Are full and empty cylinders clearly segregated and labeled? | ☐ | ☐ | ☐ | ____________________ |
| Are all cylinders properly secured with chains or straps to prevent tipping? | ☐ | ☐ | ☐ | ____________________ |
| Are cylinder valves protected by caps or collars when not in use? | ☐ | ☐ | ☐ | ____________________ |
| Are cylinders stored away from incompatible materials (e.g., flammable liquids, oil, grease)? | ☐ | ☐ | ☐ | ____________________ |
| Are cylinders stored in a cool, dry, and well-ventilated area, away from direct sunlight and heat sources? | ☐ | ☐ | ☐ | ____________________ |
| Is appropriate signage displayed indicating the gases present and any hazards? | ☐ | ☐ | ☐ | ____________________ |
| Are cylinder valves free from damage, corrosion, and leaks? | ☐ | ☐ | ☐ | ____________________ |
| Are pressure relief devices on cylinders unobstructed and functioning correctly? | ☐ | ☐ | ☐ | ____________________ |
| Is appropriate cylinder handling equipment (e.g., hand trucks) available and in good working condition? | ☐ | ☐ | ☐ | ____________________ |
| Is fire protection equipment (e.g., fire extinguisher) readily available near cylinder storage? | ☐ | ☐ | ☐ | ____________________ |
| Are cylinders properly grounded to prevent static electricity buildup? | ☐ | ☐ | ☐ | ____________________ |

Medical Gas Piping System Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Visually inspect all medical gas piping for signs of damage, corrosion, or leaks. | ☐ | ☐ | ☐ | ____________________ |
| Ensure all piping is properly supported and secured to prevent stress and movement. | ☐ | ☐ | ☐ | ____________________ |
| Verify that all piping is clearly labeled with the gas type and flow direction at appropriate intervals. | ☐ | ☐ | ☐ | ____________________ |
| Test all manual and automatic valves to ensure they operate smoothly and effectively. | ☐ | ☐ | ☐ | ____________________ |
| Review records of recent pressure testing to ensure the system meets required standards. | ☐ | ☐ | ☐ | ____________________ |
| Inspect for any potential cross-connections between different medical gas lines. | ☐ | ☐ | ☐ | ____________________ |
| Verify that the system has been properly purged after any maintenance or repairs. | ☐ | ☐ | ☐ | ____________________ |
| Inspect flexible connectors for signs of wear, damage, or leaks. | ☐ | ☐ | ☐ | ____________________ |
| Test area alarms to ensure they are functioning correctly and provide timely warnings. | ☐ | ☐ | ☐ | ____________________ |
| Test master alarms to ensure they are functioning correctly and provide timely warnings. | ☐ | ☐ | ☐ | ____________________ |
| Verify that all source valves are clearly labeled and easily accessible. | ☐ | ☐ | ☐ | ____________________ |
| Confirm that up-to-date system schematics and documentation are readily available. | ☐ | ☐ | ☐ | ____________________ |

Vacuum System Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Verify that the vacuum pump is operating within its specified parameters. | ☐ | ☐ | ☐ | ____________________ |
| Inspect the vacuum receiver tank for proper pressure levels and leaks. | ☐ | ☐ | ☐ | ____________________ |
| Check and replace vacuum system filters as needed. | ☐ | ☐ | ☐ | ____________________ |
| Inspect vacuum piping for damage, corrosion, and proper support. | ☐ | ☐ | ☐ | ____________________ |
| Test the vacuum system alarm to ensure it activates at the correct pressure levels. | ☐ | ☐ | ☐ | ____________________ |
| Verify that isolation valves are functioning correctly and are easily accessible. | ☐ | ☐ | ☐ | ____________________ |
| Ensure proper drainage is in place to remove any accumulated fluids. | ☐ | ☐ | ☐ | ____________________ |
| Conduct regular leak testing to identify and repair any leaks in the system. | ☐ | ☐ | ☐ | ____________________ |
| Review maintenance records for the vacuum pump to ensure it is properly serviced. | ☐ | ☐ | ☐ | ____________________ |
| Ensure all electrical connections are secure and properly grounded. | ☐ | ☐ | ☐ | ____________________ |
| Verify that backflow prevention devices are installed and functioning correctly. | ☐ | ☐ | ☐ | ____________________ |
| Confirm that up-to-date system schematics and documentation are readily available. | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________