InspectionReport

Resort & Hotel Poolside Water Safety Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Life Ring & Rescue Equipment Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are at least two (2) approved life rings (minimum 20-inch diameter) readily accessible and properly mounted within 50 feet of the pool edge? | ☐ | ☐ | ☐ | ____________________ |
| Inspect each life ring for damage (tears, punctures, UV degradation). Are all life rings in good working condition? | ☐ | ☐ | ☐ | ____________________ |
| Verify that each life ring has a securely attached, non-fraying rope (minimum 50 feet long, 1/4-inch diameter) in good condition? | ☐ | ☐ | ☐ | ____________________ |
| Is a shepherd's crook (rescue hook) with a minimum reach of 12 feet readily available and in good working order? | ☐ | ☐ | ☐ | ____________________ |
| Inspect the shepherd's crook for any damage (cracks, bends, sharp edges). Is the handle securely attached? | ☐ | ☐ | ☐ | ____________________ |
| Is a fully stocked first-aid kit readily accessible and clearly marked? Check expiration dates of all supplies. | ☐ | ☐ | ☐ | ____________________ |
| Is a working telephone or emergency communication device (e.g., radio) readily available and clearly marked with emergency contact numbers? | ☐ | ☐ | ☐ | ____________________ |
| Is a spinal backboard with head immobilizer and straps readily available and in good working condition? | ☐ | ☐ | ☐ | ____________________ |
| If a rescue buoy is used, is it readily available, in good condition, and properly inflated? | ☐ | ☐ | ☐ | ____________________ |
| If supplemental oxygen is provided, is the cylinder full, regulator functioning, and mask/delivery system readily available? | ☐ | ☐ | ☐ | ____________________ |

Pool Drain Cover & Suction Fitting Inspection (VGB Act Compliance)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all pool drain covers present and securely attached with the correct screws? | ☐ | ☐ | ☐ | ____________________ |
| Inspect all drain covers for cracks, damage, or signs of tampering. Are all drain covers in good condition? | ☐ | ☐ | ☐ | ____________________ |
| Verify that all drain covers are compliant with the VGB Act and marked with the appropriate ASME/ANSI standards? | ☐ | ☐ | ☐ | ____________________ |
| Check the expiration dates on all drain covers. Are any drain covers past their expiration date? | ☐ | ☐ | ☐ | ____________________ |
| Is documentation available verifying the drain covers meet VGB Act requirements (e.g., manufacturer specifications, installation records)? | ☐ | ☐ | ☐ | ____________________ |
| If the pool is equipped with a Suction Vacuum Release System (SVRS), verify that it is functioning correctly by testing per manufacturer's instructions. | ☐ | ☐ | ☐ | ____________________ |
| Are all pool water level equalization lines clear and unobstructed to prevent suction entrapment? | ☐ | ☐ | ☐ | ____________________ |
| Verify that emergency pump shut-off switches are clearly labeled, readily accessible, and functioning correctly. | ☐ | ☐ | ☐ | ____________________ |

Pool Deck & Surroundings Safety

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Inspect the pool deck surface for cracks, uneven surfaces, or other tripping hazards. Are all hazards repaired or clearly marked? | ☐ | ☐ | ☐ | ____________________ |
| Evaluate the slip resistance of the pool deck surface, especially when wet. Is the surface providing adequate traction? | ☐ | ☐ | ☐ | ____________________ |
| Verify that the pool deck has adequate drainage to prevent standing water. Are all drains clear and functioning properly? | ☐ | ☐ | ☐ | ____________________ |
| Are pool depth markers clearly visible and accurately indicating the water depth at various locations around the pool? | ☐ | ☐ | ☐ | ____________________ |
| Are pool rules clearly posted and easily visible to all pool users? Do the rules address key safety concerns (e.g., no running, diving restrictions)? | ☐ | ☐ | ☐ | ____________________ |
| Verify that adequate lighting is provided for the pool area, especially during evening hours. Are all lights functioning properly? | ☐ | ☐ | ☐ | ____________________ |
| Are pool chemicals stored in a secure, well-ventilated area, away from incompatible materials and unauthorized access? | ☐ | ☐ | ☐ | ____________________ |
| Is the pool area enclosed by a fence or barrier that meets local regulations? Are all gates self-closing and self-latching? | ☐ | ☐ | ☐ | ____________________ |
| Inspect pool furniture (chairs, loungers, tables) for damage (sharp edges, broken supports). Are all items in good repair? | ☐ | ☐ | ☐ | ____________________ |
| Inspect all electrical outlets and equipment near the pool for proper grounding and GFCI protection. Are any electrical hazards present? | ☐ | ☐ | ☐ | ____________________ |

Staff Training & Preparedness

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Verify that all lifeguards on duty have current and valid certifications in lifeguarding, CPR, and first aid. | ☐ | ☐ | ☐ | ____________________ |
| Observe lifeguards to ensure they are actively scanning the pool area and maintaining a high level of vigilance. | ☐ | ☐ | ☐ | ____________________ |
| Is a written emergency response plan in place and readily available to all staff? Does the plan address various emergency scenarios (e.g., drowning, medical emergency)? | ☐ | ☐ | ☐ | ____________________ |
| Have regular emergency drills been conducted to practice the emergency response plan? Document the date and results of the last drill. | ☐ | ☐ | ☐ | ____________________ |
| Verify that a reliable communication system (e.g., whistle, radio) is in place to allow lifeguards to communicate with each other and with management. | ☐ | ☐ | ☐ | ____________________ |
| Assess staff knowledge of pool rules, emergency procedures, and the location of safety equipment. | ☐ | ☐ | ☐ | ____________________ |
| Ensure that lifeguards have access to appropriate personal protective equipment (PPE), such as gloves and resuscitation masks. | ☐ | ☐ | ☐ | ____________________ |
| Verify that a system is in place for reporting and documenting all pool-related incidents and injuries. | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________