InspectionReport

Industrial HVAC Chiller Plant Safety Inspection Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Refrigerant System Integrity

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are refrigerant leak detection systems (sensors) calibrated and functioning correctly, with alarms set at appropriate levels? (ASHRAE 15) | ☐ | ☐ | ☐ | ____________________ |
| Are refrigerant monitor logs reviewed and documented weekly, showing no abnormal leak trends? (EPA 608) | ☐ | ☐ | ☐ | ____________________ |
| Is refrigerant piping insulation intact and free from damage or deterioration, preventing condensation and corrosion? (ANSI/IIAR 2) | ☐ | ☐ | ☐ | ____________________ |
| Are refrigerant storage vessels properly labeled, secured, and protected from physical damage? (OSHA 1910.119) | ☐ | ☐ | ☐ | ____________________ |
| Is refrigerant recovery equipment available, in good working order, and operated by certified personnel? (EPA 608) | ☐ | ☐ | ☐ | ____________________ |
| Are refrigerant pressure relief valves properly sized, installed, and tested annually? (ANSI/IIAR 2) | ☐ | ☐ | ☐ | ____________________ |
| Are refrigerant compressor oil levels within the manufacturer's recommended range? (OEM Manual) | ☐ | ☐ | ☐ | ____________________ |
| Are refrigerant sight glasses clear and free from bubbles, indicating proper refrigerant charge? (OEM Manual) | ☐ | ☐ | ☐ | ____________________ |
| Are all refrigerant lines clearly identified with the type of refrigerant and flow direction? (ANSI A13.1) | ☐ | ☐ | ☐ | ____________________ |
| Is the emergency refrigerant shutdown procedure documented and readily accessible? (Site Specific Procedure) | ☐ | ☐ | ☐ | ____________________ |

Cooling Tower Water Treatment and Legionella Control

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are cooling tower water treatment logs maintained daily, showing consistent adherence to chemical treatment protocols? (ASHRAE 188) | ☐ | ☐ | ☐ | ____________________ |
| Are biocide levels in the cooling tower water maintained within the recommended range, as verified by regular testing? (ASHRAE 188) | ☐ | ☐ | ☐ | ____________________ |
| Are total dissolved solids (TDS) levels in the cooling tower water within acceptable limits, preventing scaling and corrosion? (Water Treatment Plan) | ☐ | ☐ | ☐ | ____________________ |
| Is the cooling tower bleed-off system functioning correctly, removing concentrated impurities from the water? (Water Treatment Plan) | ☐ | ☐ | ☐ | ____________________ |
| Are cooling tower drift eliminators in place and in good condition, minimizing water droplet carryover? (ASHRAE 188) | ☐ | ☐ | ☐ | ____________________ |
| Is a regular cooling tower cleaning and disinfection schedule followed, preventing biofilm formation? (ASHRAE 188) | ☐ | ☐ | ☐ | ____________________ |
| Is Legionella testing performed regularly, with results documented and corrective actions taken when necessary? (ASHRAE 188) | ☐ | ☐ | ☐ | ____________________ |
| Is access to the cooling tower restricted to authorized personnel only? (Site Security Plan) | ☐ | ☐ | ☐ | ____________________ |
| Is the make-up water source for the cooling tower properly treated and monitored? (Water Treatment Plan) | ☐ | ☐ | ☐ | ____________________ |
| Is the cooling tower basin free from cracks, leaks, and debris? (Visual Inspection) | ☐ | ☐ | ☐ | ____________________ |

Pressure Vessel Safety

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are chiller pressure gauges accurate and within calibration dates? (ASME Boiler and Pressure Vessel Code) | ☐ | ☐ | ☐ | ____________________ |
| Are chiller pressure relief valves properly sized, installed, and tested according to ASME standards? (ASME Boiler and Pressure Vessel Code) | ☐ | ☐ | ☐ | ____________________ |
| Is hydrostatic testing of pressure vessels performed at the required intervals, with documented results? (ASME Boiler and Pressure Vessel Code) | ☐ | ☐ | ☐ | ____________________ |
| Are regular visual inspections of pressure vessels conducted for signs of corrosion, cracks, or other damage? (NBIC) | ☐ | ☐ | ☐ | ____________________ |
| Is the pressure vessel nameplate legible and does it contain all required information? (ASME Boiler and Pressure Vessel Code) | ☐ | ☐ | ☐ | ____________________ |
| Is the chiller protected against overpressure events by appropriate safety devices? (ASME Boiler and Pressure Vessel Code) | ☐ | ☐ | ☐ | ____________________ |
| Are pressure vessel supports and foundations in good condition, providing adequate support? (Engineering Design) | ☐ | ☐ | ☐ | ____________________ |
| Is documentation for pressure vessel inspections, testing, and repairs readily available? (NBIC) | ☐ | ☐ | ☐ | ____________________ |
| Are corrosion protection measures in place for pressure vessels, such as coatings or cathodic protection? (NACE) | ☐ | ☐ | ☐ | ____________________ |
| Are operating procedures for pressure vessels documented and followed? (Site Specific Procedure) | ☐ | ☐ | ☐ | ____________________ |

Personal Protective Equipment (PPE) and Emergency Preparedness

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are appropriate PPE (gloves, eye protection, respiratory protection) available and used when handling refrigerants? (OSHA 1910.132) | ☐ | ☐ | ☐ | ____________________ |
| Are appropriate PPE (gloves, eye protection, face shield) available and used when handling water treatment chemicals? (OSHA 1910.132) | ☐ | ☐ | ☐ | ____________________ |
| Is an emergency eyewash station readily accessible and functioning properly? (ANSI Z358.1) | ☐ | ☐ | ☐ | ____________________ |
| Is an emergency shower readily accessible and functioning properly? (ANSI Z358.1) | ☐ | ☐ | ☐ | ____________________ |
| Is a well-stocked first-aid kit readily available? (OSHA 1910.151) | ☐ | ☐ | ☐ | ____________________ |
| Is a refrigerant leak emergency response plan in place and understood by all personnel? (Site Specific Procedure) | ☐ | ☐ | ☐ | ____________________ |
| Is a Legionella outbreak response plan in place and understood by all personnel? (ASHRAE 188) | ☐ | ☐ | ☐ | ____________________ |
| Are fire extinguishers readily accessible, inspected monthly, and appropriate for the hazards present? (NFPA 10) | ☐ | ☐ | ☐ | ____________________ |
| Is an emergency contact list posted in a prominent location? (Site Specific Procedure) | ☐ | ☐ | ☐ | ____________________ |
| Are confined space entry procedures followed when entering chiller or cooling tower basins? (OSHA 1910.146) | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________