InspectionReport

Lockout/Tagout (LOTO) Audit Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

LOTO Procedure Documentation

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are written LOTO procedures readily available at each point of use for all equipment requiring lockout/tagout? | ☐ | ☐ | ☐ | ____________________ |
| Do LOTO procedures accurately reflect the current configuration and energy control methods for each piece of equipment? | ☐ | ☐ | ☐ | ____________________ |
| Do LOTO procedures include specific steps for shutting down, isolating, blocking, and securing equipment to control hazardous energy? | ☐ | ☐ | ☐ | ____________________ |
| Are all energy sources (electrical, pneumatic, hydraulic, thermal, etc.) clearly identified in the LOTO procedures? | ☐ | ☐ | ☐ | ____________________ |
| Do LOTO procedures specify methods for safely dissipating or restraining stored energy (e.g., capacitors, springs, elevated machine parts)? | ☐ | ☐ | ☐ | ____________________ |
| Are procedures in place for group lockout/tagout situations, ensuring each authorized employee has control over the energy isolation? | ☐ | ☐ | ☐ | ____________________ |
| Has the LOTO procedure been reviewed and updated at least annually, or whenever there is a change in equipment or processes? | ☐ | ☐ | ☐ | ____________________ |
| Are LOTO procedures written in a language understood by all authorized employees? | ☐ | ☐ | ☐ | ____________________ |
| Are there specific procedures for contractors performing work on site that require LOTO? | ☐ | ☐ | ☐ | ____________________ |

Energy Isolation and Control

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are energy isolating devices (e.g., circuit breakers, valves) clearly identified and accessible? | ☐ | ☐ | ☐ | ____________________ |
| Are the lockout/tagout devices (locks, tags) suitable for the environment and capable of withstanding the forces and conditions of the workplace? | ☐ | ☐ | ☐ | ____________________ |
| Are lockout/tagout devices standardized throughout the facility in terms of color, shape, or size? | ☐ | ☐ | ☐ | ____________________ |
| Are pneumatic and hydraulic systems properly isolated and residual pressure relieved before starting work? | ☐ | ☐ | ☐ | ____________________ |
| Is electrical equipment de-energized and verified to be in a zero energy state using appropriate testing equipment (e.g., multimeter)? | ☐ | ☐ | ☐ | ____________________ |
| Are valves locked in the closed position with appropriate lockout devices? | ☐ | ☐ | ☐ | ____________________ |
| Are circuit breakers locked in the OFF position with appropriate lockout devices? | ☐ | ☐ | ☐ | ____________________ |
| Is the isolation of energy sources verified before any work begins (e.g., attempting to start the equipment)? | ☐ | ☐ | ☐ | ____________________ |
| Are procedures in place to ensure that lockout devices are removed only by the authorized employee who applied them? | ☐ | ☐ | ☐ | ____________________ |

Lockout/Tagout Device Management

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are lockout locks uniquely assigned to individual authorized employees and not shared? | ☐ | ☐ | ☐ | ____________________ |
| Are lockout tags durable and resistant to environmental conditions (e.g., water, chemicals, UV exposure)? | ☐ | ☐ | ☐ | ____________________ |
| Are lockout tags clearly legible and easily understood? | ☐ | ☐ | ☐ | ____________________ |
| Is there an inventory system in place to track the location and assignment of lockout locks? | ☐ | ☐ | ☐ | ____________________ |
| Is there a documented procedure for addressing lost or damaged lockout locks? | ☐ | ☐ | ☐ | ____________________ |
| Are lockout tags securely attached to energy isolating devices? | ☐ | ☐ | ☐ | ____________________ |
| Are lockout locks regularly inspected and maintained to ensure proper functionality? | ☐ | ☐ | ☐ | ____________________ |
| Are lockout locks stored in a secure location when not in use? | ☐ | ☐ | ☐ | ____________________ |

Training and Communication

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Have all authorized employees received comprehensive training on LOTO procedures, energy control methods, and their responsibilities? | ☐ | ☐ | ☐ | ____________________ |
| Have all affected employees (those who work in the area where LOTO is performed) been informed about the purpose and use of LOTO? | ☐ | ☐ | ☐ | ____________________ |
| Is there documentation of LOTO training for all authorized and affected employees? | ☐ | ☐ | ☐ | ____________________ |
| Is LOTO retraining provided periodically (at least annually) or whenever there are changes in equipment, procedures, or job assignments? | ☐ | ☐ | ☐ | ____________________ |
| Are there clear communication protocols in place to inform all affected employees before LOTO procedures are implemented? | ☐ | ☐ | ☐ | ____________________ |
| Are emergency procedures in place in case of unexpected startup or other LOTO-related incidents? | ☐ | ☐ | ☐ | ____________________ |
| Are employees aware of the potential hazards associated with the equipment being locked out/tagged out? | ☐ | ☐ | ☐ | ____________________ |
| Is training provided in a language and manner that all employees can understand? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________