InspectionReport

Offshore Platform Dropped Object (DROPS) Prevention Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Derrick & Crane DROPS Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all tools used at height within the derrick properly tethered with a load-rated lanyard? Verify tether SWL exceeds tool weight by a factor of 2. | ☐ | ☐ | ☐ | ____________________ |
| Inspect all lighting fixtures within the derrick. Are safety pins and secondary retention cables properly installed and secured? | ☐ | ☐ | ☐ | ____________________ |
| Visually inspect all grating surfaces within the derrick for corrosion, damage, or missing sections. Are any sections compromised? | ☐ | ☐ | ☐ | ____________________ |
| Check for any loose equipment or materials stored improperly on the derrick structure. Is all equipment secured or removed? | ☐ | ☐ | ☐ | ____________________ |
| Are all hoses and cables within the derrick properly restrained to prevent swinging or falling hazards? | ☐ | ☐ | ☐ | ____________________ |
| Verify that all lubrication equipment (grease guns, oil cans) are secured with tethers when used at height in the derrick. | ☐ | ☐ | ☐ | ____________________ |
| Inspect all rigging hardware (shackles, hooks, slings) for proper locking mechanisms and absence of damage. Are any locking mechanisms missing or damaged? | ☐ | ☐ | ☐ | ____________________ |
| Are taglines used during lifting operations in the derrick and are they in good condition (no cuts, frays, or knots)? | ☐ | ☐ | ☐ | ____________________ |
| Confirm a tool inventory is maintained for all tools used in the derrick, and that a system is in place to track tools in and out of the area. | ☐ | ☐ | ☐ | ____________________ |
| Assess the general housekeeping within the derrick. Is the area free from tripping hazards and debris that could become dropped objects? | ☐ | ☐ | ☐ | ____________________ |

Process Area DROPS Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Inspect all pipe supports and clamps for corrosion or damage. Are any supports showing signs of weakness or failure? | ☐ | ☐ | ☐ | ____________________ |
| Verify that all valve handles are securely attached and cannot be easily dislodged. Are any handles loose or missing securing hardware? | ☐ | ☐ | ☐ | ____________________ |
| Check that all instrumentation (gauges, transmitters) are properly mounted and secured. Are any instruments loose or vibrating excessively? | ☐ | ☐ | ☐ | ____________________ |
| Inspect cable trays for proper support and secure cable routing. Are any cables hanging loose or unsupported? | ☐ | ☐ | ☐ | ____________________ |
| Verify that all lighting fixtures are securely mounted and have secondary retention. Are any fixtures missing safety cables or mounting hardware? | ☐ | ☐ | ☐ | ____________________ |
| Inspect all walkways and platforms for damaged or missing grating. Are any sections of grating compromised, creating a potential fall or DROPS hazard? | ☐ | ☐ | ☐ | ____________________ |
| Check that all signage is securely mounted and legible. Are any signs loose, damaged, or missing? | ☐ | ☐ | ☐ | ____________________ |
| Ensure any temporary equipment (scaffolding, ladders) is properly secured and does not pose a DROPS hazard. Is all temporary equipment properly tagged and inspected? | ☐ | ☐ | ☐ | ____________________ |
| Verify that hoses are properly stored and secured when not in use to prevent them from becoming a trip or dropped object hazard. | ☐ | ☐ | ☐ | ____________________ |
| Confirm that the 'Red Zone' areas are clearly marked and access is controlled to prevent unauthorized personnel from entering areas with high DROPS potential. | ☐ | ☐ | ☐ | ____________________ |

General Platform DROPS Prevention

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are 3.5-inch toeboards installed on all open sides of elevated platforms and walkways? | ☐ | ☐ | ☐ | ____________________ |
| Is debris netting installed below elevated work areas to catch falling objects? | ☐ | ☐ | ☐ | ____________________ |
| Is the platform free of loose materials, tools, and debris that could become dropped objects? | ☐ | ☐ | ☐ | ____________________ |
| Are toolboxes equipped with secure latches and handles to prevent accidental opening and spillage? | ☐ | ☐ | ☐ | ____________________ |
| Is equipment stored in designated areas and secured to prevent movement or falling? | ☐ | ☐ | ☐ | ____________________ |
| Are DROPS awareness signs prominently displayed throughout the platform? | ☐ | ☐ | ☐ | ____________________ |
| Are drainage systems clear and free of obstructions that could cause water accumulation and corrosion, leading to DROPS hazards? | ☐ | ☐ | ☐ | ____________________ |
| Are ventilation systems properly maintained and free of loose components that could detach and fall? | ☐ | ☐ | ☐ | ____________________ |
| Verify that emergency equipment (fire extinguishers, first aid kits) are securely mounted and readily accessible. | ☐ | ☐ | ☐ | ____________________ |
| Ensure adequate lighting is provided in all work areas to facilitate visual inspection for potential DROPS hazards. | ☐ | ☐ | ☐ | ____________________ |

Dropped Object Prevention Program

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is a comprehensive DROPS prevention program documented and readily available? | ☐ | ☐ | ☐ | ____________________ |
| Have all personnel received adequate training on DROPS prevention and hazard identification? | ☐ | ☐ | ☐ | ____________________ |
| Are routine DROPS inspections conducted and documented? | ☐ | ☐ | ☐ | ____________________ |
| Is there a system in place for reporting and addressing potential DROPS hazards? | ☐ | ☐ | ☐ | ____________________ |
| Is there a tool control program in place to manage and track tools used at height? | ☐ | ☐ | ☐ | ____________________ |
| Is there a preventative maintenance program in place to address potential DROPS hazards related to equipment and infrastructure? | ☐ | ☐ | ☐ | ____________________ |
| Are DROPS risk assessments conducted for all tasks involving work at height? | ☐ | ☐ | ☐ | ____________________ |
| Are lessons learned from previous DROPS incidents incorporated into the DROPS prevention program? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________