InspectionReport

Pallet Racking Structural Integrity Scan Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Upright Frame Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Visually inspect uprights for straightness. Are there any visible bends or deflections exceeding 1/4 inch over 10 feet? (Red if yes) | ☐ | ☐ | ☐ | ____________________ |
| Inspect uprights for forklift impact damage, especially at the base. Are there any dents, scrapes, or deformations? (Amber if minor, Red if significant) | ☐ | ☐ | ☐ | ____________________ |
| Verify base plates are securely anchored to the floor. Are any anchors missing, loose, or damaged? (Red if any) | ☐ | ☐ | ☐ | ____________________ |
| Are column protectors installed and in good condition, especially in high-traffic areas? (Amber if damaged or missing) | ☐ | ☐ | ☐ | ____________________ |
| Inspect welds on upright frames for cracks or breaks. Are any welds compromised? (Red if yes) | ☐ | ☐ | ☐ | ____________________ |
| Check for rust or corrosion on uprights, especially near the floor. Is there significant corrosion weakening the structure? (Amber if surface rust, Red if structural) | ☐ | ☐ | ☐ | ____________________ |
| Verify uprights are plumb using a level. Are uprights out of plumb by more than 1/2 inch over 10 feet? (Amber if yes) | ☐ | ☐ | ☐ | ____________________ |
| If uprights are spliced, inspect splice connections for proper bolting and alignment. Are any bolts missing or loose? (Red if any) | ☐ | ☐ | ☐ | ____________________ |
| Confirm load capacity signs are present and legible on each upright frame. Is the information accurate and visible? (Amber if missing or illegible) | ☐ | ☐ | ☐ | ____________________ |

Cross Beam Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Visually inspect cross beams for straightness. Are there any visible bends or deflections exceeding 1/4 inch over the beam length? (Red if yes) | ☐ | ☐ | ☐ | ____________________ |
| Inspect cross beams for forklift impact damage. Are there any dents, scrapes, or deformations? (Amber if minor, Red if significant) | ☐ | ☐ | ☐ | ____________________ |
| Verify beam connectors are properly engaged with the upright frames. Are connectors fully seated and secure? (Red if any are disengaged) | ☐ | ☐ | ☐ | ____________________ |
| Confirm safety pins are installed in all beam connectors. Are any safety pins missing or damaged? (Red if any are missing) | ☐ | ☐ | ☐ | ____________________ |
| Inspect welds on beam connectors for cracks or breaks. Are any welds compromised? (Red if yes) | ☐ | ☐ | ☐ | ____________________ |
| Check for rust or corrosion on beams, especially at connection points. Is there significant corrosion weakening the structure? (Amber if surface rust, Red if structural) | ☐ | ☐ | ☐ | ____________________ |
| Inspect beams for signs of overloading (excessive deflection). Is there evidence of overloading beyond the stated capacity? (Red if yes) | ☐ | ☐ | ☐ | ____________________ |
| Confirm load capacity signs are present and legible for each beam level. Is the information accurate and visible? (Amber if missing or illegible) | ☐ | ☐ | ☐ | ____________________ |
| Verify that beam locking devices (e.g., clips, bolts) are correctly installed and functioning. Are any missing or damaged? (Red if any) | ☐ | ☐ | ☐ | ____________________ |

Load Handling and Storage Practices

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Observe load placement on pallets. Are loads evenly distributed and stable? (Amber if uneven or unstable) | ☐ | ☐ | ☐ | ____________________ |
| Inspect pallets for damage (broken boards, missing supports). Are pallets in good condition to support the load? (Amber if damaged) | ☐ | ☐ | ☐ | ____________________ |
| Ensure loads do not protrude beyond the pallet edges excessively. Is there excessive overhang that could cause instability? (Amber if yes) | ☐ | ☐ | ☐ | ____________________ |
| Verify load weights do not exceed the rack's load capacity. Are load weights within the specified limits? (Red if exceeded) | ☐ | ☐ | ☐ | ____________________ |
| Ensure stacking heights are within safe limits and do not compromise stability. Are stacks too high or unstable? (Red if yes) | ☐ | ☐ | ☐ | ____________________ |
| Verify adequate aisle clearance for forklift operation. Are aisles free from obstructions? (Amber if obstructed) | ☐ | ☐ | ☐ | ____________________ |
| Observe if loads are properly secured (e.g., shrink-wrapped, strapped) to prevent shifting. Are loads adequately secured? (Amber if not secured) | ☐ | ☐ | ☐ | ____________________ |
| Assess if mixed pallet types are used and if they are compatible with the racking system. Are incompatible pallets being used? (Amber if yes) | ☐ | ☐ | ☐ | ____________________ |

Forklift Operation and Traffic Management

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Verify forklift operators are properly trained and certified. Are operator certifications current? (Red if not certified) | ☐ | ☐ | ☐ | ____________________ |
| Observe forklift operators adhering to posted speed limits within the warehouse. Are operators exceeding speed limits? (Amber if yes) | ☐ | ☐ | ☐ | ____________________ |
| Assess the effectiveness of pedestrian walkways and barriers to separate forklifts from foot traffic. Are pedestrian walkways clearly marked and used? (Amber if not clear or not used) | ☐ | ☐ | ☐ | ____________________ |
| Observe forklift operators using the horn at intersections and blind spots. Are operators using the horn appropriately? (Amber if not used) | ☐ | ☐ | ☐ | ____________________ |
| Verify forklifts are regularly maintained and inspected. Are maintenance records up-to-date? (Amber if not up-to-date) | ☐ | ☐ | ☐ | ____________________ |
| Observe forklift operators handling loads safely and avoiding abrupt movements. Are operators handling loads smoothly and carefully? (Amber if not careful) | ☐ | ☐ | ☐ | ____________________ |
| Verify forklift operators are wearing seatbelts. Are operators wearing seatbelts? (Red if not wearing) | ☐ | ☐ | ☐ | ____________________ |
| Ensure adequate lighting is provided in areas where forklifts operate. Is lighting sufficient for safe operation? (Amber if inadequate) | ☐ | ☐ | ☐ | ____________________ |
| Confirm that there is a system in place for reporting forklift incidents and near misses. Is there a clear reporting process? (Amber if not clear) | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________