InspectionReport

Portable Fire Extinguisher Monthly Inspection Log

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

Jurisdiction: US. NFPA 10 and OSHA 29 CFR 1910.157(e)(2) are US standards. The monthly visual inspection process is broadly applicable.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Inspection header

| Field | Entry |
| --- | --- |
| Facility name and address | ________________________________________________ |
| Inspector name and date | ________________________________________________ |
| Month and year of inspection | ________________________________________________ |

Monthly visual inspection (per unit)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Extinguisher ID / location | ☐ | ☐ | ☐ | ____________________ |
| Accessibility: visible, unobscured, in designated location | ☐ | ☐ | ☐ | ____________________ |
| Signage: clearly readable | ☐ | ☐ | ☐ | ____________________ |
| Pressure gauge: needle in green operable range | ☐ | ☐ | ☐ | ____________________ |
| Safety pin: in place | ☐ | ☐ | ☐ | ____________________ |
| Tamper seal: completely unbroken | ☐ | ☐ | ☐ | ____________________ |
| Physical condition: no rust, corrosion, dents, or leakage | ☐ | ☐ | ☐ | ____________________ |
| Hose and nozzle: no cracks, debris, or dry rot | ☐ | ☐ | ☐ | ____________________ |
| Heft check: feels completely full | ☐ | ☐ | ☐ | ____________________ |

Documentation

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Inspection tag: initialed and dated on each unit | ☐ | ☐ | ☐ | ____________________ |
| Electronic log: recorded if using digital tracking | ☐ | ☐ | ☐ | ____________________ |

Defective unit resolution

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Defective unit removed from service | ☐ | ☐ | ☐ | ____________________ |
| Replacement unit of same type and equal rating installed | ☐ | ☐ | ☐ | ____________________ |
| Failed unit sent to certified service provider | ☐ | ☐ | ☐ | ____________________ |
| Replacement extinguisher installed before the location is returned to service | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________

References consulted

NFPA 10: Standard for Portable Fire Extinguishers, §7.2.1.2 (2022)

OSHA 29 CFR 1910.157(e)(2) – Inspection and maintenance

NFPA 10 §7.3 – Maintenance

NFPA 10 §7.4 – Hydrostatic testing

Verify the current edition and local adoption before use.