InspectionReport

Medical Sharps & Biohazard Disposal Inspection Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Sharps Container Integrity & Placement

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are sharps containers filled no more than 3/4 full, preventing overflow and potential needle sticks? | ☐ | ☐ | ☐ | ____________________ |
| Are sharps containers puncture-resistant, leak-proof on sides and bottom, and properly labeled with the biohazard symbol? | ☐ | ☐ | ☐ | ____________________ |
| Are sharps containers securely mounted or placed to prevent accidental tipping or spills? | ☐ | ☐ | ☐ | ____________________ |
| Are sharps containers easily accessible to healthcare workers at the point of use? | ☐ | ☐ | ☐ | ____________________ |
| Do sharps containers have a functional, secure lid that can be easily closed and locked for final disposal? | ☐ | ☐ | ☐ | ____________________ |
| Inspect each container for any signs of damage (cracks, leaks, deformation) before use and during weekly audits. | ☐ | ☐ | ☐ | ____________________ |
| Are sharps containers located as close as feasible to the immediate area where sharps are used (e.g., patient bedside, phlebotomy station)? | ☐ | ☐ | ☐ | ____________________ |
| Are sharps containers clearly visible and not obstructed by other objects? | ☐ | ☐ | ☐ | ____________________ |
| Verify that the sharps containers have not exceeded their expiration date. | ☐ | ☐ | ☐ | ____________________ |
| Confirm that the biohazard labels on the sharps containers are legible and securely attached. | ☐ | ☐ | ☐ | ____________________ |

Biohazard Waste Bag Handling & Storage

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are biohazard waste bags red or orange, clearly marked with the biohazard symbol, and of sufficient thickness to prevent tearing or leaks? | ☐ | ☐ | ☐ | ____________________ |
| Are biohazard bags filled no more than 3/4 full to allow for secure closure and prevent spills during handling? | ☐ | ☐ | ☐ | ____________________ |
| Are biohazard bags securely closed using a gooseneck knot, tape, or zip tie to prevent leakage? | ☐ | ☐ | ☐ | ____________________ |
| Are biohazard bags placed in rigid, leak-proof containers with tight-fitting lids during transport and storage? | ☐ | ☐ | ☐ | ____________________ |
| Is the biohazard waste storage area secured to prevent unauthorized access? | ☐ | ☐ | ☐ | ____________________ |
| Is the biohazard waste storage area clean, dry, and free from pests? | ☐ | ☐ | ☐ | ____________________ |
| Is biohazard waste properly segregated from other types of waste (e.g., general trash, recyclable materials)? | ☐ | ☐ | ☐ | ____________________ |
| Are personnel handling biohazard waste wearing appropriate PPE, including gloves, gowns, and eye protection? | ☐ | ☐ | ☐ | ____________________ |
| Are biohazard waste bags labeled with the date and location of origin? | ☐ | ☐ | ☐ | ____________________ |
| Ensure biohazard bags do not exceed the maximum weight limit specified by the waste disposal company. | ☐ | ☐ | ☐ | ____________________ |

Transport Procedures & Spill Control

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are dedicated carts used for transporting sharps containers and biohazard waste, preventing cross-contamination? | ☐ | ☐ | ☐ | ____________________ |
| Are transport carts regularly cleaned and disinfected? | ☐ | ☐ | ☐ | ____________________ |
| Are sharps containers and biohazard bags secured on the transport cart to prevent tipping or spills during transport? | ☐ | ☐ | ☐ | ____________________ |
| Is the transport route clear of obstructions and hazards? | ☐ | ☐ | ☐ | ____________________ |
| Is a readily accessible spill kit available in areas where sharps and biohazard waste are handled and transported? | ☐ | ☐ | ☐ | ____________________ |
| Does the spill kit contain appropriate PPE (gloves, eye protection, gown), absorbent materials, disinfectant, and biohazard waste bags? | ☐ | ☐ | ☐ | ____________________ |
| Are personnel trained on the proper procedures for cleaning up spills of blood or other potentially infectious materials? | ☐ | ☐ | ☐ | ____________________ |
| Is there a clear procedure for reporting spills and exposures to bloodborne pathogens? | ☐ | ☐ | ☐ | ____________________ |
| Are personnel transporting sharps and biohazard waste trained on proper handling procedures and potential hazards? | ☐ | ☐ | ☐ | ____________________ |
| Are transport carts regularly inspected and maintained to ensure proper functionality? | ☐ | ☐ | ☐ | ____________________ |

Documentation & Training Records

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is a sharps injury log maintained, documenting all needle stick injuries and other sharps-related incidents? | ☐ | ☐ | ☐ | ____________________ |
| Is a written Exposure Control Plan (ECP) readily available and updated annually? | ☐ | ☐ | ☐ | ____________________ |
| Have all employees who handle sharps or biohazard waste received bloodborne pathogen training within the past year? | ☐ | ☐ | ☐ | ____________________ |
| Are training records maintained for all employees who have received bloodborne pathogen training? | ☐ | ☐ | ☐ | ____________________ |
| Are disposal manifests for biohazard waste properly completed and retained? | ☐ | ☐ | ☐ | ____________________ |
| Are incident reports completed for all sharps injuries and biohazard waste spills? | ☐ | ☐ | ☐ | ____________________ |
| Is there a documented procedure for post-exposure evaluation and follow-up after a sharps injury or exposure to bloodborne pathogens? | ☐ | ☐ | ☐ | ____________________ |
| Is an inventory of sharps containers maintained, including location and fill dates? | ☐ | ☐ | ☐ | ____________________ |
| Is there a current contract with a licensed medical waste disposal company? | ☐ | ☐ | ☐ | ____________________ |
| Is the Exposure Control Plan reviewed and updated at least annually, or whenever new procedures or equipment are introduced? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________