InspectionReport

Concrete Cutting Silica Dust Exposure Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Table 1 Compliance Verification

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is the concrete cutting task listed in OSHA's Table 1? | ☐ | ☐ | ☐ | ____________________ |
| Is there a written exposure control plan addressing silica hazards, as required by OSHA? | ☐ | ☐ | ☐ | ____________________ |
| Has a competent person been designated to implement and oversee the silica exposure control plan? | ☐ | ☐ | ☐ | ____________________ |
| Does the implemented control method (wet cutting, HEPA vacuum) precisely match the requirements specified in Table 1 for the specific cutting task? | ☐ | ☐ | ☐ | ____________________ |
| If Table 1 is NOT followed, has an alternative exposure assessment (objective data or scheduled monitoring) been conducted to determine worker exposure levels? | ☐ | ☐ | ☐ | ____________________ |
| If objective data is used, is it readily available and representative of current working conditions? | ☐ | ☐ | ☐ | ____________________ |
| Are housekeeping practices in place to minimize visible dust accumulation (e.g., regular cleanup of dust and debris)? | ☐ | ☐ | ☐ | ____________________ |
| Have all workers received training on silica hazards, control methods, and proper respirator use? | ☐ | ☐ | ☐ | ____________________ |
| Is a medical surveillance program in place for workers exposed to silica at or above the action level? | ☐ | ☐ | ☐ | ____________________ |
| Are records of exposure monitoring, objective data, and medical surveillance maintained as required? | ☐ | ☐ | ☐ | ____________________ |

Wet Cutting Methods

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is the water supply sufficient to continuously suppress dust at the cutting point? | ☐ | ☐ | ☐ | ____________________ |
| Are water spray nozzles in good working condition, properly positioned, and free from obstructions? | ☐ | ☐ | ☐ | ____________________ |
| Is the water flow rate adequate to visibly suppress dust during cutting operations? | ☐ | ☐ | ☐ | ____________________ |
| Is there a system in place to contain and manage slurry runoff to prevent environmental contamination? | ☐ | ☐ | ☐ | ____________________ |
| If potable water is used, is backflow prevention in place to protect the water supply? | ☐ | ☐ | ☐ | ____________________ |
| Is the slurry being disposed of in accordance with local environmental regulations? | ☐ | ☐ | ☐ | ____________________ |
| Is the wet cutting equipment properly maintained to ensure effective dust suppression? | ☐ | ☐ | ☐ | ____________________ |
| Does the wet cutting method reduce visibility, creating other hazards? Are additional controls in place (e.g., lighting)? | ☐ | ☐ | ☐ | ____________________ |

HEPA Vacuum Systems

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is the HEPA vacuum certified to meet HEPA filter standards (99.97% efficiency at 0.3 microns)? | ☐ | ☐ | ☐ | ____________________ |
| Is the HEPA filter intact and free from damage or leaks? | ☐ | ☐ | ☐ | ____________________ |
| Are vacuum hoses in good condition, properly connected, and free from obstructions? | ☐ | ☐ | ☐ | ____________________ |
| Is the vacuum providing adequate suction at the cutting point to capture dust? | ☐ | ☐ | ☐ | ____________________ |
| Is the dust collection receptacle properly sealed and emptied regularly to prevent overfilling? | ☐ | ☐ | ☐ | ____________________ |
| Is there a documented filter replacement schedule based on manufacturer's recommendations and usage? | ☐ | ☐ | ☐ | ____________________ |
| Are maintenance records kept for the HEPA vacuum, including filter replacements and repairs? | ☐ | ☐ | ☐ | ____________________ |
| Is the vacuum exhaust directed away from workers and other areas where dust could be re-entrained? | ☐ | ☐ | ☐ | ____________________ |
| Is a pre-use inspection of the HEPA vacuum conducted daily to ensure proper functioning? | ☐ | ☐ | ☐ | ____________________ |

Respiratory Protection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are workers provided with respirators appropriate for the level of silica exposure, as determined by Table 1 or exposure assessment? | ☐ | ☐ | ☐ | ____________________ |
| Have workers been fit-tested for their respirators within the past year? | ☐ | ☐ | ☐ | ____________________ |
| Have workers been medically evaluated to ensure they are able to wear a respirator? | ☐ | ☐ | ☐ | ____________________ |
| Have workers been trained on the proper use, maintenance, and storage of their respirators? | ☐ | ☐ | ☐ | ____________________ |
| Are workers performing a user seal check each time they put on their respirator? | ☐ | ☐ | ☐ | ____________________ |
| Are respirators stored in a clean, dry place to prevent damage or contamination? | ☐ | ☐ | ☐ | ____________________ |
| Are respirators cleaned and disinfected regularly? | ☐ | ☐ | ☐ | ____________________ |
| Is a written respiratory protection program in place, as required by OSHA? | ☐ | ☐ | ☐ | ____________________ |
| Do workers have facial hair that interferes with the respirator seal? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________