InspectionReport
SPCC & Stormwater Compliance Inspection Checklist
Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.
	Site / Project: ______________________________
	Address: ______________________________

	Inspector name: ______________________________
	Company: ______________________________

	Date: ______________________________
	Time: ______________________________


Inspection checklist
Secondary Containment Inspection
	Item
	Pass
	Fail
	N/A
	Notes

	Are all secondary containment structures (e.g., dikes, berms, double-walled tanks) free from cracks, leaks, or deterioration?
	☐
	☐
	☐
	____________________

	Is the secondary containment volume sufficient to contain the entire contents of the largest single tank plus sufficient freeboard for precipitation?
	☐
	☐
	☐
	____________________

	Are drainage controls (e.g., valves, pumps) for secondary containment areas properly sealed and locked to prevent unauthorized discharge?
	☐
	☐
	☐
	____________________

	Are secondary containment areas free from accumulated rainwater, debris, or spilled materials?
	☐
	☐
	☐
	____________________

	Are tank foundations stable and free from signs of settling or corrosion?
	☐
	☐
	☐
	____________________

	Are overfill prevention measures (e.g., high-level alarms, automatic shut-off systems) functioning correctly?
	☐
	☐
	☐
	____________________

	Is corrosion protection (e.g., coatings, cathodic protection) in place and properly maintained on tanks and piping?
	☐
	☐
	☐
	____________________

	Are tank venting systems functioning properly to prevent pressure buildup?
	☐
	☐
	☐
	____________________

	Are adequate security measures in place to prevent unauthorized access to tanks and containment areas?
	☐
	☐
	☐
	____________________

	Are regular inspection records for secondary containment areas maintained and readily available?
	☐
	☐
	☐
	____________________


Stormwater BMPs Inspection
	Item
	Pass
	Fail
	N/A
	Notes

	Are silt fences properly installed and free from tears, gaps, or undermining?
	☐
	☐
	☐
	____________________

	Are sediment basins free from excessive sediment accumulation, and is the outlet structure functioning correctly?
	☐
	☐
	☐
	____________________

	Are storm drain inlet protection devices (e.g., gravel bags, filter socks) properly installed and maintained?
	☐
	☐
	☐
	____________________

	Is the stabilized construction entrance properly maintained to prevent tracking of sediment onto public roads?
	☐
	☐
	☐
	____________________

	Is adequate vegetative cover established on disturbed areas to minimize erosion?
	☐
	☐
	☐
	____________________

	Is regular street sweeping conducted to remove accumulated sediment and debris?
	☐
	☐
	☐
	____________________

	Are materials stored properly to prevent contact with stormwater runoff?
	☐
	☐
	☐
	____________________

	Are waste containers properly covered and labeled to prevent stormwater contamination?
	☐
	☐
	☐
	____________________

	Are erosion control blankets properly installed and secured on slopes?
	☐
	☐
	☐
	____________________

	Are diversion ditches properly maintained to redirect stormwater flow?
	☐
	☐
	☐
	____________________


Spill Prevention & Response
	Item
	Pass
	Fail
	N/A
	Notes

	Are spill kits readily accessible and adequately stocked with appropriate materials (e.g., absorbent pads, booms, PPE)?
	☐
	☐
	☐
	____________________

	Are spill kit contents in good condition and within their expiration dates?
	☐
	☐
	☐
	____________________

	Are spill reporting procedures clearly posted and understood by all personnel?
	☐
	☐
	☐
	____________________

	Have all personnel received adequate training on spill prevention and response procedures?
	☐
	☐
	☐
	____________________

	Is spill containment equipment (e.g., booms, absorbent socks) readily available and in good working condition?
	☐
	☐
	☐
	____________________

	Are fuel transfer areas equipped with spill containment measures (e.g., drip pans, absorbent pads)?
	☐
	☐
	☐
	____________________

	Are fuel storage areas clearly marked and secured to prevent unauthorized access?
	☐
	☐
	☐
	____________________

	Are vehicle maintenance areas equipped with spill containment and cleanup materials?
	☐
	☐
	☐
	____________________

	Are loading and unloading areas for liquids equipped with spill containment?
	☐
	☐
	☐
	____________________

	Are drainage pathways leading away from potential spill areas properly controlled?
	☐
	☐
	☐
	____________________


SWPPP Documentation & Implementation
	Item
	Pass
	Fail
	N/A
	Notes

	Is the SWPPP (Stormwater Pollution Prevention Plan) readily available on-site and up-to-date?
	☐
	☐
	☐
	____________________

	Does the SWPPP include all required elements (e.g., site description, BMPs, inspection procedures, spill response plan)?
	☐
	☐
	☐
	____________________

	Are the BMPs described in the SWPPP being properly implemented and maintained?
	☐
	☐
	☐
	____________________

	Has the SWPPP been amended to reflect any changes in site conditions or operations?
	☐
	☐
	☐
	____________________

	Are stormwater inspections being conducted at the frequency specified in the SWPPP and NPDES permit?
	☐
	☐
	☐
	____________________

	Are stormwater inspection records being maintained and readily available for review?
	☐
	☐
	☐
	____________________

	Are corrective actions being taken to address any deficiencies identified during stormwater inspections?
	☐
	☐
	☐
	____________________

	Have all employees received training on the SWPPP and their responsibilities?
	☐
	☐
	☐
	____________________

	Is discharge monitoring being conducted as required by the NPDES permit?
	☐
	☐
	☐
	____________________

	Are annual reports being submitted to the regulatory agency as required by the NPDES permit?
	☐
	☐
	☐
	____________________


Findings
	#
	Item
	Location
	Severity
	Action required

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
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	8
	
	
	
	


Signature
Inspector signature: ______________________________    Name: ______________________________
Date: ______________________________
Free resource from inspectionreport.app - build an evidence-backed report from photos at https://www.inspectionreport.app/new-report
