InspectionReport

SPCC & Stormwater Compliance Inspection Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Secondary Containment Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all secondary containment structures (e.g., dikes, berms, double-walled tanks) free from cracks, leaks, or deterioration? | ☐ | ☐ | ☐ | ____________________ |
| Is the secondary containment volume sufficient to contain the entire contents of the largest single tank plus sufficient freeboard for precipitation? | ☐ | ☐ | ☐ | ____________________ |
| Are drainage controls (e.g., valves, pumps) for secondary containment areas properly sealed and locked to prevent unauthorized discharge? | ☐ | ☐ | ☐ | ____________________ |
| Are secondary containment areas free from accumulated rainwater, debris, or spilled materials? | ☐ | ☐ | ☐ | ____________________ |
| Are tank foundations stable and free from signs of settling or corrosion? | ☐ | ☐ | ☐ | ____________________ |
| Are overfill prevention measures (e.g., high-level alarms, automatic shut-off systems) functioning correctly? | ☐ | ☐ | ☐ | ____________________ |
| Is corrosion protection (e.g., coatings, cathodic protection) in place and properly maintained on tanks and piping? | ☐ | ☐ | ☐ | ____________________ |
| Are tank venting systems functioning properly to prevent pressure buildup? | ☐ | ☐ | ☐ | ____________________ |
| Are adequate security measures in place to prevent unauthorized access to tanks and containment areas? | ☐ | ☐ | ☐ | ____________________ |
| Are regular inspection records for secondary containment areas maintained and readily available? | ☐ | ☐ | ☐ | ____________________ |

Stormwater BMPs Inspection

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are silt fences properly installed and free from tears, gaps, or undermining? | ☐ | ☐ | ☐ | ____________________ |
| Are sediment basins free from excessive sediment accumulation, and is the outlet structure functioning correctly? | ☐ | ☐ | ☐ | ____________________ |
| Are storm drain inlet protection devices (e.g., gravel bags, filter socks) properly installed and maintained? | ☐ | ☐ | ☐ | ____________________ |
| Is the stabilized construction entrance properly maintained to prevent tracking of sediment onto public roads? | ☐ | ☐ | ☐ | ____________________ |
| Is adequate vegetative cover established on disturbed areas to minimize erosion? | ☐ | ☐ | ☐ | ____________________ |
| Is regular street sweeping conducted to remove accumulated sediment and debris? | ☐ | ☐ | ☐ | ____________________ |
| Are materials stored properly to prevent contact with stormwater runoff? | ☐ | ☐ | ☐ | ____________________ |
| Are waste containers properly covered and labeled to prevent stormwater contamination? | ☐ | ☐ | ☐ | ____________________ |
| Are erosion control blankets properly installed and secured on slopes? | ☐ | ☐ | ☐ | ____________________ |
| Are diversion ditches properly maintained to redirect stormwater flow? | ☐ | ☐ | ☐ | ____________________ |

Spill Prevention & Response

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are spill kits readily accessible and adequately stocked with appropriate materials (e.g., absorbent pads, booms, PPE)? | ☐ | ☐ | ☐ | ____________________ |
| Are spill kit contents in good condition and within their expiration dates? | ☐ | ☐ | ☐ | ____________________ |
| Are spill reporting procedures clearly posted and understood by all personnel? | ☐ | ☐ | ☐ | ____________________ |
| Have all personnel received adequate training on spill prevention and response procedures? | ☐ | ☐ | ☐ | ____________________ |
| Is spill containment equipment (e.g., booms, absorbent socks) readily available and in good working condition? | ☐ | ☐ | ☐ | ____________________ |
| Are fuel transfer areas equipped with spill containment measures (e.g., drip pans, absorbent pads)? | ☐ | ☐ | ☐ | ____________________ |
| Are fuel storage areas clearly marked and secured to prevent unauthorized access? | ☐ | ☐ | ☐ | ____________________ |
| Are vehicle maintenance areas equipped with spill containment and cleanup materials? | ☐ | ☐ | ☐ | ____________________ |
| Are loading and unloading areas for liquids equipped with spill containment? | ☐ | ☐ | ☐ | ____________________ |
| Are drainage pathways leading away from potential spill areas properly controlled? | ☐ | ☐ | ☐ | ____________________ |

SWPPP Documentation & Implementation

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is the SWPPP (Stormwater Pollution Prevention Plan) readily available on-site and up-to-date? | ☐ | ☐ | ☐ | ____________________ |
| Does the SWPPP include all required elements (e.g., site description, BMPs, inspection procedures, spill response plan)? | ☐ | ☐ | ☐ | ____________________ |
| Are the BMPs described in the SWPPP being properly implemented and maintained? | ☐ | ☐ | ☐ | ____________________ |
| Has the SWPPP been amended to reflect any changes in site conditions or operations? | ☐ | ☐ | ☐ | ____________________ |
| Are stormwater inspections being conducted at the frequency specified in the SWPPP and NPDES permit? | ☐ | ☐ | ☐ | ____________________ |
| Are stormwater inspection records being maintained and readily available for review? | ☐ | ☐ | ☐ | ____________________ |
| Are corrective actions being taken to address any deficiencies identified during stormwater inspections? | ☐ | ☐ | ☐ | ____________________ |
| Have all employees received training on the SWPPP and their responsibilities? | ☐ | ☐ | ☐ | ____________________ |
| Is discharge monitoring being conducted as required by the NPDES permit? | ☐ | ☐ | ☐ | ____________________ |
| Are annual reports being submitted to the regulatory agency as required by the NPDES permit? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________