InspectionReport

Structural Steel Erection & Bolting Safety Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Fall Protection Systems

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all fall protection anchor points inspected and certified by a qualified person before use, with documentation available on site? (1926.760(d)) | ☐ | ☐ | ☐ | ____________________ |
| Are Connectors 100% tied off above 15 and below 30 feet, or using controlled decking zone (CDZ) procedures? (1926.760(b)(1)) | ☐ | ☐ | ☐ | ____________________ |
| If using a Controlled Decking Zone (CDZ), is it properly designated and are all requirements met, including maximum size and qualified personnel? (1926.760(c)) | ☐ | ☐ | ☐ | ____________________ |
| Is leading edge fall protection (guardrails, safety nets, or personal fall arrest systems) in place during decking operations? (1926.501(b)(2)) | ☐ | ☐ | ☐ | ____________________ |
| Are all personal fall arrest systems (harnesses, lanyards, self-retracting lifelines) inspected daily for damage or defects by a competent person? (1926.502(d)(21)) | ☐ | ☐ | ☐ | ____________________ |
| Are horizontal lifelines installed and used according to manufacturer's specifications and engineered for the intended load? (ANSI Z359.6) | ☐ | ☐ | ☐ | ____________________ |
| Is a written rescue plan in place and communicated to all workers in case of a fall? (1926.502(d)(20)) | ☐ | ☐ | ☐ | ____________________ |
| Have fall distances been calculated to ensure adequate clearance below the worker to prevent contact with lower levels? (1926.502(d)(16)(iii)) | ☐ | ☐ | ☐ | ____________________ |
| Are controlled load lowering procedures in place to prevent uncontrolled descent of materials? (1926.753(c)(5)) | ☐ | ☐ | ☐ | ____________________ |
| Are bolt bags secured to prevent dropping hazards? (Good practice) | ☐ | ☐ | ☐ | ____________________ |

Structural Stability & Connections

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are double connections at each column/beam verified to ensure proper load distribution and stability? (1926.756(c)(1)) | ☐ | ☐ | ☐ | ____________________ |
| Are columns adequately anchored to prevent displacement during erection? (1926.755(a)) | ☐ | ☐ | ☐ | ____________________ |
| Are shear studs installed per approved drawings and welding procedures? (AWS D1.1) | ☐ | ☐ | ☐ | ____________________ |
| Is the bolting sequence followed as per the engineered drawings to ensure proper stress distribution? (Good practice) | ☐ | ☐ | ☐ | ____________________ |
| Is temporary bracing installed and maintained until permanent connections are completed? (1926.757(a)(8)) | ☐ | ☐ | ☐ | ____________________ |
| Are columns plumb within the specified tolerance before final bolting? (AISC Code of Standard Practice) | ☐ | ☐ | ☐ | ____________________ |
| Are bolts tightened to the required torque using calibrated torque wrenches? (RCSC Specification for Structural Joints) | ☐ | ☐ | ☐ | ____________________ |
| Are bolts inspected for proper grade, size, and condition before installation? (ASTM A325, A490) | ☐ | ☐ | ☐ | ____________________ |
| Are approved erection drawings readily available and followed by the erection crew? (1926.752(a)) | ☐ | ☐ | ☐ | ____________________ |
| Is the crane positioned on stable ground and away from overhead power lines? (1926.1407) | ☐ | ☐ | ☐ | ____________________ |
| Are tag lines used to control the movement of steel members during lifting? (Good practice) | ☐ | ☐ | ☐ | ____________________ |

Personal Protective Equipment (PPE)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all workers wearing hard hats that meet ANSI Z89.1 standards? (1926.100(a)) | ☐ | ☐ | ☐ | ____________________ |
| Are all workers wearing safety glasses with side shields that meet ANSI Z87.1 standards? (1926.102(a)(1)) | ☐ | ☐ | ☐ | ____________________ |
| Are all workers wearing high-visibility clothing (vests or jackets) that meet ANSI/ISEA 107 standards? (1926.760(a)(1)) | ☐ | ☐ | ☐ | ____________________ |
| Are workers wearing appropriate gloves for the task (e.g., leather gloves for handling steel)? (Good practice) | ☐ | ☐ | ☐ | ____________________ |
| Are all workers wearing steel-toed boots that meet ASTM F2413 standards? (1926.96(b)) | ☐ | ☐ | ☐ | ____________________ |
| Are workers using appropriate impact protection when using impact wrenches? (Good practice) | ☐ | ☐ | ☐ | ____________________ |
| Is hearing protection available and used when noise levels exceed 85 dBA? (1926.52(b)) | ☐ | ☐ | ☐ | ____________________ |
| Are welders using appropriate welding helmets, gloves, and protective clothing? (1926.350) | ☐ | ☐ | ☐ | ____________________ |

Site Conditions & Housekeeping

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are access and egress pathways clear of obstructions and tripping hazards? (1926.760(h)) | ☐ | ☐ | ☐ | ____________________ |
| Is material stored in a safe and organized manner to prevent falling or collapse? (1926.250(a)(1)) | ☐ | ☐ | ☐ | ____________________ |
| Are ground conditions stable and capable of supporting the weight of equipment and materials? (Good practice) | ☐ | ☐ | ☐ | ____________________ |
| Are weather conditions (wind, rain, snow) being monitored and work adjusted accordingly? (1926.752(e)) | ☐ | ☐ | ☐ | ____________________ |
| Is adequate lighting provided for all work areas? (1926.56(a)) | ☐ | ☐ | ☐ | ____________________ |
| Are fire extinguishers readily available and inspected regularly? (1926.150(c)(1)) | ☐ | ☐ | ☐ | ____________________ |
| Is a first-aid kit readily available and adequately stocked? (1926.50(d)(1)) | ☐ | ☐ | ☐ | ____________________ |
| Is the work area kept clean and free of debris? (1926.25(a)) | ☐ | ☐ | ☐ | ____________________ |
| Are overhead hazards (power lines, cranes) identified and mitigated? (1926.1400) | ☐ | ☐ | ☐ | ____________________ |

Training & Documentation

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is a competent person designated for steel erection activities? (1926.751) | ☐ | ☐ | ☐ | ____________________ |
| Are connectors trained and qualified for their specific tasks? (1926.761(c)(3)) | ☐ | ☐ | ☐ | ____________________ |
| Have all workers received fall protection training that meets the requirements of 1926.503? (1926.503) | ☐ | ☐ | ☐ | ____________________ |
| Is the crane operator certified and qualified to operate the crane being used? (1926.1427) | ☐ | ☐ | ☐ | ____________________ |
| Are rigging equipment (slings, shackles) inspected before each use, and are inspection records maintained? (1926.251(e)(1)) | ☐ | ☐ | ☐ | ____________________ |
| Is a site-specific erection plan developed and followed? (1926.752(a)) | ☐ | ☐ | ☐ | ____________________ |
| Are pre-shift safety meetings conducted to discuss hazards and safe work practices? (Good practice) | ☐ | ☐ | ☐ | ____________________ |
| Are Material Safety Data Sheets (MSDS) readily available for all hazardous materials on site? (1926.59(g)) | ☐ | ☐ | ☐ | ____________________ |
| Is emergency contact information posted in a conspicuous location? (Good practice) | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________