InspectionReport

Commercial Pool Pump & Chemical Room Inspection Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Chemical Storage & Handling

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are incompatible chemicals (e.g., Sodium hypochlorite and Muriatic acid) stored separately with adequate physical barriers? | ☐ | ☐ | ☐ | ____________________ |
| Are all chemical containers clearly labeled with the chemical name, hazard warnings, and first aid instructions? | ☐ | ☐ | ☐ | ____________________ |
| Is a readily accessible chemical spill kit available, complete with appropriate PPE and absorbent materials? | ☐ | ☐ | ☐ | ____________________ |
| Is the chemical storage area secured to prevent unauthorized access? | ☐ | ☐ | ☐ | ____________________ |
| Is a current inventory of all chemicals stored on-site maintained and readily available? | ☐ | ☐ | ☐ | ____________________ |
| Are written procedures for safe chemical handling and mixing readily available and followed? | ☐ | ☐ | ☐ | ____________________ |
| Are chemicals stored at the recommended temperature to prevent degradation or hazardous reactions? | ☐ | ☐ | ☐ | ____________________ |
| Are empty chemical containers properly disposed of according to local regulations and manufacturer's instructions? | ☐ | ☐ | ☐ | ____________________ |
| Are chemical deliveries inspected for damage and leaks before acceptance? | ☐ | ☐ | ☐ | ____________________ |
| Is adequate secondary containment provided for all liquid chemical storage containers to prevent spills from reaching the environment? | ☐ | ☐ | ☐ | ____________________ |

Ventilation & Air Quality

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is the ventilation system operating correctly and providing adequate air exchange to prevent the buildup of toxic chloramine gas? | ☐ | ☐ | ☐ | ____________________ |
| Is the ventilation system regularly maintained, including filter replacement and duct cleaning? | ☐ | ☐ | ☐ | ____________________ |
| Is air quality periodically monitored to ensure chloramine gas levels are within acceptable limits? | ☐ | ☐ | ☐ | ____________________ |
| Are exhaust fans functioning properly and free from obstructions? | ☐ | ☐ | ☐ | ____________________ |
| Are air intakes located away from potential sources of chemical fumes or exhaust? | ☐ | ☐ | ☐ | ____________________ |
| If gas-powered equipment is used, is a carbon monoxide detector installed and functioning properly? | ☐ | ☐ | ☐ | ____________________ |
| Are ventilation system alarms tested regularly to ensure proper function? | ☐ | ☐ | ☐ | ____________________ |
| Is local exhaust ventilation used during chemical mixing or transfer to capture fumes at the source? | ☐ | ☐ | ☐ | ____________________ |
| Is there documentation of ventilation system inspections, maintenance, and repairs? | ☐ | ☐ | ☐ | ____________________ |
| Is there an emergency override to maximize ventilation in case of a chemical release? | ☐ | ☐ | ☐ | ____________________ |

Personal Protective Equipment (PPE)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is appropriate PPE (e.g., chemical-resistant gloves, eye protection, face shield, apron) readily available and in good condition? | ☐ | ☐ | ☐ | ____________________ |
| Are all PPE items inspected for damage (tears, punctures, deterioration) before each use? | ☐ | ☐ | ☐ | ____________________ |
| Is PPE properly fitted to each employee to ensure adequate protection? | ☐ | ☐ | ☐ | ____________________ |
| Is an eyewash station readily accessible (within 10 seconds reach) and unobstructed? | ☐ | ☐ | ☐ | ____________________ |
| Is the eyewash station tested weekly to ensure proper function and water flow? | ☐ | ☐ | ☐ | ____________________ |
| Is a safety shower readily accessible and unobstructed? | ☐ | ☐ | ☐ | ____________________ |
| Is the safety shower tested annually to ensure proper function and water flow? | ☐ | ☐ | ☐ | ____________________ |
| Have all employees been trained on the proper use, maintenance, and storage of PPE? | ☐ | ☐ | ☐ | ____________________ |
| Are PPE items cleaned and sanitized after each use? | ☐ | ☐ | ☐ | ____________________ |
| If respiratory protection is required, is a respiratory protection program in place, including fit testing and medical evaluations? | ☐ | ☐ | ☐ | ____________________ |

Pump & Equipment Safety

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all pumps and piping inspected for leaks and corrosion? | ☐ | ☐ | ☐ | ____________________ |
| Are all moving parts of pumps and equipment properly guarded to prevent accidental contact? | ☐ | ☐ | ☐ | ____________________ |
| Are all electrical connections and wiring in good condition and properly grounded? | ☐ | ☐ | ☐ | ____________________ |
| Are maintenance records for all pumps and equipment up-to-date and readily available? | ☐ | ☐ | ☐ | ____________________ |
| Are chemical feeder pumps calibrated regularly to ensure accurate chemical dosing? | ☐ | ☐ | ☐ | ____________________ |
| Is an emergency shutdown switch readily accessible and clearly labeled? | ☐ | ☐ | ☐ | ____________________ |
| Are pressure relief valves functioning properly and set to the correct pressure? | ☐ | ☐ | ☐ | ____________________ |
| Is vibration monitoring performed on pumps to detect potential mechanical issues? | ☐ | ☐ | ☐ | ____________________ |
| Are all pipes adequately supported to prevent stress and leaks? | ☐ | ☐ | ☐ | ____________________ |
| Are backflow prevention devices installed and functioning properly to prevent contamination of the water supply? | ☐ | ☐ | ☐ | ____________________ |
| Is water quality monitored regularly to ensure proper chemical balance and disinfection? | ☐ | ☐ | ☐ | ____________________ |

Housekeeping & Site Conditions

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are floors clean, dry, and free from slip hazards? | ☐ | ☐ | ☐ | ____________________ |
| Is adequate lighting provided throughout the pump and chemical room? | ☐ | ☐ | ☐ | ____________________ |
| Are aisles and walkways clear and unobstructed? | ☐ | ☐ | ☐ | ____________________ |
| Are emergency exits clearly marked and unobstructed? | ☐ | ☐ | ☐ | ____________________ |
| Is appropriate safety signage posted, including hazard warnings, emergency contact information, and PPE requirements? | ☐ | ☐ | ☐ | ____________________ |
| Is a pest control program in place to prevent infestations? | ☐ | ☐ | ☐ | ____________________ |
| Are waste containers properly labeled and emptied regularly? | ☐ | ☐ | ☐ | ____________________ |
| Is a fire extinguisher readily accessible and inspected regularly? | ☐ | ☐ | ☐ | ____________________ |
| Have employees been trained on the proper use of fire extinguishers? | ☐ | ☐ | ☐ | ____________________ |
| Is a well-stocked first-aid kit readily available? | ☐ | ☐ | ☐ | ____________________ |
| Is a regular housekeeping schedule in place and followed? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________