InspectionReport

Underground Storage Tank (UST) Removal Safety Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Pre-Excavation & Site Assessment

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Has a thorough site assessment been conducted to identify potential leaks or spills prior to excavation? | ☐ | ☐ | ☐ | ____________________ |
| Is the 811 (One-Call) utility markout complete and documented? Verify all underground utilities are clearly marked. | ☐ | ☐ | ☐ | ____________________ |
| Is a soil sampling plan in place to assess potential contamination levels during and after UST removal? | ☐ | ☐ | ☐ | ____________________ |
| Is site access controlled to prevent unauthorized personnel from entering the excavation zone? | ☐ | ☐ | ☐ | ____________________ |
| Has the prevailing wind direction been assessed to determine vapor dispersion patterns? | ☐ | ☐ | ☐ | ____________________ |
| Are emergency contact numbers (fire department, hazmat team, hospital) clearly posted on site? | ☐ | ☐ | ☐ | ____________________ |
| Has the soil type been identified to determine appropriate shoring or sloping requirements? | ☐ | ☐ | ☐ | ____________________ |
| Have UST records (age, contents, leak history) been reviewed prior to excavation? | ☐ | ☐ | ☐ | ____________________ |
| Is a site-specific health and safety plan (HASP) developed and communicated to all personnel? | ☐ | ☐ | ☐ | ____________________ |
| Has all excavation and removal equipment been inspected for proper function and safety? | ☐ | ☐ | ☐ | ____________________ |

Tank Inerting & Vapor Control

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is the LEL monitor calibrated and bump-tested daily? Record calibration results. | ☐ | ☐ | ☐ | ____________________ |
| Are LEL readings being continuously monitored and documented in the excavation zone and around the UST? | ☐ | ☐ | ☐ | ____________________ |
| Is an adequate supply of inerting gas (e.g., nitrogen, carbon dioxide) readily available? | ☐ | ☐ | ☐ | ____________________ |
| Is the tank inerting procedure being followed according to NFPA 326 and site-specific plan? | ☐ | ☐ | ☐ | ____________________ |
| Is the oxygen level inside the UST being monitored to ensure it is below the required threshold (typically <5%)? | ☐ | ☐ | ☐ | ____________________ |
| Is proper grounding and bonding established to prevent static electricity buildup during inerting? | ☐ | ☐ | ☐ | ____________________ |
| Are vapor suppression techniques (e.g., foam, water spray) in place to minimize vapor release during tank opening? | ☐ | ☐ | ☐ | ____________________ |
| Are all potential ignition sources (e.g., smoking, open flames, non-intrinsically safe equipment) controlled within the work area? | ☐ | ☐ | ☐ | ____________________ |
| Is adequate ventilation provided to disperse any released vapors? | ☐ | ☐ | ☐ | ____________________ |
| Is a vapor recovery system in place and functioning correctly to capture released vapors? | ☐ | ☐ | ☐ | ____________________ |

Excavation & Tank Removal

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is trench shoring or sloping adequate to prevent collapse, based on soil type and excavation depth? (OSHA 1926 Subpart P) | ☐ | ☐ | ☐ | ____________________ |
| Is a competent person (as defined by OSHA) on site to inspect the excavation daily? | ☐ | ☐ | ☐ | ____________________ |
| Is the spoils pile located at least 2 feet (0.6 meters) from the edge of the excavation? | ☐ | ☐ | ☐ | ____________________ |
| Is the lifting equipment (crane, excavator) properly rated for the weight of the UST? | ☐ | ☐ | ☐ | ____________________ |
| Is a detailed lifting plan in place and followed during tank removal? | ☐ | ☐ | ☐ | ____________________ |
| Is the sling inspection current and documented? Verify sling rating exceeds the load. | ☐ | ☐ | ☐ | ____________________ |
| Is a spotter present during the tank lifting operation to guide the crane operator? | ☐ | ☐ | ☐ | ____________________ |
| Is the tank integrity being continuously monitored during lifting to prevent ruptures or spills? | ☐ | ☐ | ☐ | ____________________ |
| Is spill containment (e.g., absorbent pads, berms) readily available in case of a leak during lifting? | ☐ | ☐ | ☐ | ____________________ |
| Is there visual evidence of soil contamination during excavation? If yes, implement the soil management plan. | ☐ | ☐ | ☐ | ____________________ |
| Is the removed tank placed on an impermeable berm or containment area to prevent further soil contamination? | ☐ | ☐ | ☐ | ____________________ |

Personal Protective Equipment (PPE)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are hard hats worn by all personnel within the excavation zone? (ANSI Z89.1) | ☐ | ☐ | ☐ | ____________________ |
| Are safety glasses with side shields worn to protect against dust and debris? (ANSI Z87.1) | ☐ | ☐ | ☐ | ____________________ |
| Are steel-toe boots worn to protect against foot injuries? (ANSI Z41) | ☐ | ☐ | ☐ | ____________________ |
| Are appropriate gloves worn to protect against chemical exposure and physical hazards? (EN 374) | ☐ | ☐ | ☐ | ____________________ |
| Is respiratory protection (e.g., respirator) adequate for the identified vapor concentrations? (NIOSH approved) | ☐ | ☐ | ☐ | ____________________ |
| Have personnel been properly fit-tested for their respirators? (OSHA 1910.134) | ☐ | ☐ | ☐ | ____________________ |
| Is high-visibility clothing (e.g., safety vest) worn by all personnel within the work zone? (ANSI 107) | ☐ | ☐ | ☐ | ____________________ |
| Is chemical-resistant clothing worn if there is a potential for contact with contaminated soil or liquids? | ☐ | ☐ | ☐ | ____________________ |
| Is an eyewash station readily available in case of chemical exposure? | ☐ | ☐ | ☐ | ____________________ |
| Is a fully stocked first-aid kit readily available on site? | ☐ | ☐ | ☐ | ____________________ |

Documentation & Reporting

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Is a daily safety briefing conducted and documented, covering hazards and safe work practices? | ☐ | ☐ | ☐ | ____________________ |
| Is the UST removal permit readily available on site? | ☐ | ☐ | ☐ | ____________________ |
| Are waste manifests properly completed for contaminated soil and tank contents? | ☐ | ☐ | ☐ | ____________________ |
| Are soil sampling results documented and compared to regulatory limits? | ☐ | ☐ | ☐ | ____________________ |
| Is a certificate of tank cleaning and disposal provided by a qualified contractor? | ☐ | ☐ | ☐ | ____________________ |
| Is photo documentation being maintained throughout the UST removal process? | ☐ | ☐ | ☐ | ____________________ |
| Is an incident reporting procedure in place and understood by all personnel? | ☐ | ☐ | ☐ | ____________________ |
| Are any leaks or spills immediately reported to the appropriate regulatory agencies? | ☐ | ☐ | ☐ | ____________________ |
| Is a site restoration plan in place to address any remaining contamination and restore the site to its original condition? | ☐ | ☐ | ☐ | ____________________ |
| Are daily inspection reports completed and retained on site? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________