InspectionReport

Underground Utility Locate & Excavation Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

Pre-Excavation Planning & Documentation

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Has 811/Call Before You Dig been notified at least 2-3 business days prior to excavation? (Confirm notification number). | ☐ | ☐ | ☐ | ____________________ |
| Is the utility locate request valid and within the required timeframe (typically 30 days)? | ☐ | ☐ | ☐ | ____________________ |
| Are site drawings and utility maps readily available and reviewed with the excavation crew? | ☐ | ☐ | ☐ | ____________________ |
| Are emergency contact information (utility companies, emergency services) readily available on site? | ☐ | ☐ | ☐ | ____________________ |
| Has a competent person been identified and assigned to oversee excavation safety? (Document name and qualifications). | ☐ | ☐ | ☐ | ____________________ |
| Is a soil classification report available, and has the soil type been properly identified by the competent person? | ☐ | ☐ | ☐ | ____________________ |
| If required by company policy or local regulations, is a valid excavation permit obtained and posted? | ☐ | ☐ | ☐ | ____________________ |
| Has a daily safety briefing been conducted, covering potential hazards and safe work practices? | ☐ | ☐ | ☐ | ____________________ |
| Has coordination with utility companies been established, especially for high-risk utilities (e.g., high-pressure gas lines)? | ☐ | ☐ | ☐ | ____________________ |
| If excavation impacts traffic, is a traffic control plan in place and implemented effectively? (MUTCD compliance) | ☐ | ☐ | ☐ | ____________________ |

Utility Locate Markings & Tolerance Zone

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all utilities within the excavation area clearly marked with paint, flags, or stakes, according to APWA color codes? | ☐ | ☐ | ☐ | ____________________ |
| Visually verify the accuracy of utility markings against site drawings and utility maps. | ☐ | ☐ | ☐ | ____________________ |
| Is the tolerance zone (typically 18-24 inches on either side of the marked utility) clearly identified? | ☐ | ☐ | ☐ | ____________________ |
| Is hand-digging or vacuum excavation being used within the tolerance zone to expose utilities? | ☐ | ☐ | ☐ | ____________________ |
| Has potholing (hydro-excavation or hand digging) been performed to visually confirm the location and depth of all utilities within the excavation area? | ☐ | ☐ | ☐ | ____________________ |
| Are procedures in place for reporting damaged or unclear utility markings to the appropriate utility company? | ☐ | ☐ | ☐ | ____________________ |
| Is the depth of the utility verified during potholing to ensure it matches the utility locate information? | ☐ | ☐ | ☐ | ____________________ |
| Are utility markings clearly visible and maintained throughout the excavation process? (Re-marking as needed) | ☐ | ☐ | ☐ | ____________________ |
| Do the utility markings adhere to the APWA color code standards (e.g., red for electric, yellow for gas)? | ☐ | ☐ | ☐ | ____________________ |

Excavation Safety & Shoring

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| If sloping or benching is used, are the angles and dimensions in compliance with OSHA requirements based on soil type? | ☐ | ☐ | ☐ | ____________________ |
| If shoring is used, has it been inspected by a competent person before each shift and after any changes in conditions? | ☐ | ☐ | ☐ | ____________________ |
| Is the shoring system installed according to the manufacturer's specifications and a registered professional engineer's design (if required)? | ☐ | ☐ | ☐ | ____________________ |
| Is safe access and egress provided to and from the excavation (e.g., ladder, ramp, stairs) every 25 feet? | ☐ | ☐ | ☐ | ____________________ |
| Is the spoils pile located at least 2 feet away from the edge of the excavation? | ☐ | ☐ | ☐ | ____________________ |
| Are measures in place to prevent water accumulation in the excavation (e.g., dewatering, diversion ditches)? | ☐ | ☐ | ☐ | ____________________ |
| If there is a potential for hazardous atmospheres, is atmospheric testing conducted before entry and periodically during excavation? | ☐ | ☐ | ☐ | ____________________ |
| Is the stability of adjacent structures and utilities assessed and protected during excavation? | ☐ | ☐ | ☐ | ____________________ |
| Are warning systems in place for mobile equipment operating near the excavation edge (e.g., barricades, spotters)? | ☐ | ☐ | ☐ | ____________________ |
| Are underground installations protected, supported, or removed as necessary to ensure employee safety? | ☐ | ☐ | ☐ | ____________________ |

Personal Protective Equipment (PPE)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are all personnel within the excavation area wearing hard hats that meet ANSI Z89.1 standards? | ☐ | ☐ | ☐ | ____________________ |
| Are all personnel wearing appropriate eye protection (safety glasses, goggles) that meet ANSI Z87.1 standards? | ☐ | ☐ | ☐ | ____________________ |
| Are all personnel wearing high-visibility clothing (vests, shirts) that meet ANSI/ISEA 107 standards? | ☐ | ☐ | ☐ | ____________________ |
| Are all personnel wearing appropriate foot protection (safety shoes or boots) that meet ASTM F2413 standards? | ☐ | ☐ | ☐ | ____________________ |
| Are appropriate gloves being worn based on the task being performed (e.g., digging, handling materials)? | ☐ | ☐ | ☐ | ____________________ |
| If respiratory hazards are present, is a respiratory protection program in place and followed (including fit testing)? | ☐ | ☐ | ☐ | ____________________ |
| Is hearing protection available and used when noise levels exceed 85 dBA? | ☐ | ☐ | ☐ | ____________________ |
| Is all PPE in good condition and properly maintained? | ☐ | ☐ | ☐ | ____________________ |

Mobile Equipment & Vehicle Safety

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Are daily inspection records available for all mobile equipment (excavators, backhoes, trucks)? | ☐ | ☐ | ☐ | ____________________ |
| Are backup alarms functioning properly on all mobile equipment? | ☐ | ☐ | ☐ | ____________________ |
| Are seatbelts being used by all equipment operators? | ☐ | ☐ | ☐ | ____________________ |
| Are all equipment operators properly trained and certified to operate the equipment? | ☐ | ☐ | ☐ | ____________________ |
| Is a spotter used when equipment is operating in close proximity to utilities or personnel? | ☐ | ☐ | ☐ | ____________________ |
| Is there sufficient clearance between equipment and overhead power lines (minimum 10 feet)? | ☐ | ☐ | ☐ | ____________________ |
| Are vehicles parked safely, with parking brakes engaged, on level surfaces? | ☐ | ☐ | ☐ | ____________________ |
| Is equipment properly maintained and free from defects? | ☐ | ☐ | ☐ | ____________________ |
| Are safe trench crossing procedures in place for equipment and vehicles (e.g., trench plates)? | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________