InspectionReport

X-Ray & Radiology Room Safety Inspection Checklist

Documentation aid only. Adapt this resource to the site, manufacturer instructions, and applicable local requirements. It does not replace a competent person, professional judgment, legal advice, or a required statutory form.

| Site / Project: ______________________________ | Address: ______________________________ |
| --- | --- |
| Inspector name: ______________________________ | Company: ______________________________ |
| Date: ______________________________ | Time: ______________________________ |

Inspection checklist

I. Shielding Integrity

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Verify wall shielding (lead equivalence) is intact and free from damage (cracks, holes) in accordance with room design specifications. | ☐ | ☐ | ☐ | ____________________ |
| Inspect door shielding (lead equivalence) for proper fit and absence of gaps when closed. Confirm smooth operation and secure latching. | ☐ | ☐ | ☐ | ____________________ |
| Examine window shielding (lead glass) for scratches, cracks, or discoloration that may compromise its effectiveness. Verify lead equivalence rating. | ☐ | ☐ | ☐ | ____________________ |
| Assess ceiling and floor shielding for any signs of deterioration or modifications that could reduce radiation protection. | ☐ | ☐ | ☐ | ____________________ |
| Confirm that all penetrations (pipes, conduits, cables) through shielded walls, floors, and ceilings are properly sealed with appropriate shielding materials. | ☐ | ☐ | ☐ | ____________________ |
| Verify control booth shielding provides adequate protection for the operator, ensuring clear visibility and ergonomic design. | ☐ | ☐ | ☐ | ____________________ |
| If applicable, evaluate the maze design for compliance with radiation safety standards, ensuring adequate attenuation of scattered radiation. | ☐ | ☐ | ☐ | ____________________ |
| Inspect viewing systems (mirrors, cameras) for clarity and proper positioning to maintain visual contact with the patient during procedures. | ☐ | ☐ | ☐ | ____________________ |
| Review the latest shielding survey report to ensure compliance with regulatory limits and identify any areas requiring improvement. | ☐ | ☐ | ☐ | ____________________ |
| Confirm that appropriate radiation warning signs are prominently displayed at the entrance to the X-Ray room, in compliance with regulatory requirements. | ☐ | ☐ | ☐ | ____________________ |

II. Equipment Safety Interlocks & Functionality

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Inspect X-Ray tube housing for any signs of damage or leakage. Verify proper cooling system operation. | ☐ | ☐ | ☐ | ____________________ |
| Verify collimator functionality, ensuring accurate beam limitation and alignment with the image receptor. Check light field congruence. | ☐ | ☐ | ☐ | ____________________ |
| Test exposure switch functionality, confirming proper operation and safety interlocks to prevent unintended radiation exposure. | ☐ | ☐ | ☐ | ____________________ |
| Confirm that warning lights (radiation on/off) are functioning correctly and clearly visible both inside and outside the X-Ray room. | ☐ | ☐ | ☐ | ____________________ |
| Assess the stability and functionality of the X-Ray table, ensuring smooth movement and secure locking mechanisms. | ☐ | ☐ | ☐ | ____________________ |
| Verify the functionality of the emergency stop button, ensuring immediate termination of radiation exposure in case of an emergency. | ☐ | ☐ | ☐ | ____________________ |
| Inspect the image receptor (CR cassette, DR panel) for damage or artifacts that may affect image quality and diagnostic accuracy. | ☐ | ☐ | ☐ | ____________________ |
| Review generator settings (kVp, mA, time) to ensure they are appropriate for the specific examination and patient size, minimizing radiation dose. | ☐ | ☐ | ☐ | ____________________ |
| Verify that all X-Ray equipment is calibrated according to manufacturer's recommendations and regulatory requirements. Review calibration records. | ☐ | ☐ | ☐ | ____________________ |
| Confirm proper beam alignment with the image receptor, minimizing unnecessary radiation exposure to the patient. | ☐ | ☐ | ☐ | ____________________ |
| Evaluate the use of scatter reduction techniques (grids, collimation) to minimize radiation dose and improve image quality. | ☐ | ☐ | ☐ | ____________________ |

III. Personal Protective Equipment (PPE)

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Inspect lead aprons for cracks, tears, or punctures using fluoroscopy or visual inspection. Document findings. | ☐ | ☐ | ☐ | ____________________ |
| Inspect lead gloves for cracks, tears, or punctures using fluoroscopy or visual inspection. Document findings. | ☐ | ☐ | ☐ | ____________________ |
| Inspect thyroid shields for cracks, tears, or punctures. Ensure proper fit and coverage. | ☐ | ☐ | ☐ | ____________________ |
| If applicable, inspect protective eyewear (lead glasses) for scratches or damage that may impair vision or reduce radiation protection. | ☐ | ☐ | ☐ | ____________________ |
| Verify that adequate quantities of appropriate PPE are readily available for all personnel entering the X-Ray room. | ☐ | ☐ | ☐ | ____________________ |
| Ensure proper storage of PPE to prevent damage and maintain its effectiveness (e.g., hanging lead aprons on designated racks). | ☐ | ☐ | ☐ | ____________________ |
| Confirm that all personnel who routinely work with radiation are wearing assigned dosimeters correctly and consistently. | ☐ | ☐ | ☐ | ____________________ |
| Verify that dosimeters are exchanged and processed according to the established schedule (e.g., monthly, quarterly). | ☐ | ☐ | ☐ | ____________________ |
| Review dosimeter records to identify any trends or anomalies in radiation exposure levels. Investigate any unusual readings. | ☐ | ☐ | ☐ | ____________________ |
| Confirm that all personnel have received adequate training on the proper use, care, and storage of PPE. | ☐ | ☐ | ☐ | ____________________ |
| Verify that female personnel have been informed of their right to declare a pregnancy and the associated radiation safety precautions. | ☐ | ☐ | ☐ | ____________________ |

IV. Administrative Controls & Documentation

| Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Review the radiation safety program to ensure it is up-to-date and compliant with all applicable regulations and guidelines. | ☐ | ☐ | ☐ | ____________________ |
| Verify that a qualified Radiation Safety Officer (RSO) is designated and has the necessary authority and resources to implement the radiation safety program. | ☐ | ☐ | ☐ | ____________________ |
| Confirm that written operating procedures are available for all X-Ray equipment and procedures, including safety precautions and emergency protocols. | ☐ | ☐ | ☐ | ____________________ |
| Review training records to ensure that all personnel have received adequate training on radiation safety, equipment operation, and emergency procedures. | ☐ | ☐ | ☐ | ____________________ |
| Verify that a system is in place for reporting and investigating radiation incidents, including near misses and equipment malfunctions. | ☐ | ☐ | ☐ | ____________________ |
| Review audit records to ensure that regular audits are conducted to assess the effectiveness of the radiation safety program and identify areas for improvement. | ☐ | ☐ | ☐ | ____________________ |
| If applicable, verify that a system is in place for tracking and controlling radioactive materials (isotopes) used in the radiology department. | ☐ | ☐ | ☐ | ____________________ |
| If applicable, confirm that radioactive waste is properly segregated, stored, and disposed of in accordance with regulatory requirements. | ☐ | ☐ | ☐ | ____________________ |
| Ensure that procedures are in place to control access to the X-Ray room and minimize radiation exposure to visitors. | ☐ | ☐ | ☐ | ____________________ |
| Verify that appropriate shielding is used to protect patients from unnecessary radiation exposure during procedures. | ☐ | ☐ | ☐ | ____________________ |
| Assess the implementation of ALARA (As Low As Reasonably Achievable) principles in all aspects of the radiology department's operations. | ☐ | ☐ | ☐ | ____________________ |

Findings

| # | Item | Location | Severity | Action required |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Signature

Inspector signature: ______________________________    Name: ______________________________

Date: ______________________________